## sheet
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-004 |  |  |  | Monthly Inspection for CT Concentrated Cabinet
| Made by: |  |  | Approved by: |  |  | Date of Last Revision:
{inspected_by} |  |  |  | {approved_by} |  |  | {last_revision_date}
| Plant: | Witkop Solar Plant | Maintenance team: |  | {maintenance_team}
| Date: | {inspection_date} | Start hour: | {started_at} |  | Finished hour: | {finished_at}
Location: {location}
Note: Check the values before and after of the maintenance.
Pass/Fail
| # | Description | [5 empty] | COO1 | COO2 | Observations
CT Building Concentrated cabinet Inspection
| 1 | Check the external condition of the concentration cabinet | [7 empty] | {observations}
| 2 | Check control panel lights and indicators | [7 empty] | {observations}
| 3 | Check the thermal magnetic device (Negative, Grounding Isolation, Monitoring and Controller of Inverter shutdown) if applicable | [7 empty] | {observations}
| 4 | Check status of fuses & Holder | [7 empty] | {observations}
| 5 | Virtually verify that all electrical connections are aligned with your torque mark | [7 empty] | {observations}
| 6 | Check components for discoloration or signs of overheating | [7 empty] | {observations}
| 7 | Check that the connections are not poor or any damaged cables are not found | [7 empty] | {observations}
| 8 | Check status of doors, cabinet seals and apply foam if necessary | [7 empty] | {observations}
| 9 | Inspections for water penetration and corrosion or previous signs of these problems | [7 empty] | {observations}
| 10 | Check the wiring conditions inside the box | [7 empty] | {observations}
| 11 | Verify that these fuses are in place for each combiner box | [7 empty] | {observations}
| 12 | Check communication device is working fine and is communicating with SCADA | [7 empty] | {observations}
| 13 | Check that the combiner box has electrical hazard warning labelling | [7 empty] | {observations}
| 14 | Check that the wiring of the combiner box is properly labelled | [7 empty] | {observations}
| 15 | Check the inside of the concentration cabinet is clean and bow out if necessary | [7 empty] | {observations}
Exterior cleaning of equipment and components
OBSERVATIONS
{final_observations}
{inspected_by}
| Inspecton by (Name & Sign) | [5 empty] | Approve (Name & Sign)
SIE Proprietary Information | [10 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1