## Sheet
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Monthly Inspection for CT building Inverters (PM_06)
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Lerato, Itu, Prince & Tshepo
| Date: | 20/05/2025 | Start hour: |  | Finished hour:
Location:
| Item | Description | [5 empty] | Pass / Fail (P/F) | Observations
[7 empty] | INV1 | INV2
| 1 | Record all operating voltage and current reading via the front display panel
| 1.1 | Volts:
| 1.2 | Amps
| 2 | Inspect the exterior of the inverter
| 3 | Check the condition of cables and terminals
| 4 | Verify the absence of alarms in the control equipment
| 5 | Check appearance or cleanliness of the cabinet, ventilation system and all exposed surfaces
| 6 | Remove associated screws from left and right insect screws and clean with brush. Reinstall when done
OBSERVATIONS
| Tshepo | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [9 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1