## CN
Preventive Maintenance Check List
| Procedure / rev: |  |  |  | Title:
PM-003 |  |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  |  | Approved by: |  | Date of Last Revision:
{inspected_by} |  |  |  |  | {approved_by} |  | {last_revision_date}
| Plant: | Witkop Solar Plant |  | Maintenance team: |  | {maintenance_team}
| Date: | {inspection_date}
Location: {location}
Note: Check the values before and after of the maintenance.
| # | Description | [5 empty] | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | [6 empty] | {observations}
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | [6 empty] | {observations}
| 3 | Electrical panels general clearing | [6 empty] | {observations}
| 4 | Visual check for loose connections | [6 empty] | {observations}
| 5 | Location of switches and circuit breakers with deficiencies. | [6 empty] | {observations}
| 6 | Check the condition of the surge arresters. | [6 empty] | {observations}
| 7 | Visual check for possible overheating. | [6 empty] | {observations}
| 8 | Electrical control panel voltages check. | [6 empty] | {observations}
| 9 | Check the door and lock. | [6 empty] | {observations}
| 10 | Thermo graphical analysis of the electrical control panels | [6 empty] | {observations}
| 11 | Check communication with SCADA | [6 empty] | {observations}
Exterior cleaning of equipment and components
OBSERVATIONS
{final_observations}
|  |  | {inspected_by} |  |  |  |  | {approved_by}
| Inspecton by (Name & Sign) | [5 empty] | Approve (Name & Sign)
SIE Proprietary Information | [9 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1