## Inventory
Inventory Count Listing
Core Energy (RF) Pty Limited
Inventory Count Listing
Section | Item Code | Item Description | Part Type | MinLevel | Actual Qty
AC Meter Cabinet (AC Meter Cabinet)
56 | 376243116 | Cewe AC Prometer |  | 2 | 1
57 | 110123201 | Cewe RS232 to Ethernet Module | Minor | 4 | 0
Totals |  |  |  |  | 1
Communication Box (Communication Box)
58 | FiberOpticConnection | Fiber Optic Connection Housing | Minor | 5 | 0
59 | 1SVR427034R0000 | CP-E-24-5.0 Regulated Power supply In: 115/230VAC | Minor | 3 | 7
60 | 2CTB804821R0000 | Surge Arrestors OVR TC 06VC | Minor | 3 | 2
61 | 2CTB804820R0000 | Surge Arrestors OVR TC 06VP | Minor | 25 | 7
62 | EKI1224BE | EKI 1224 BE 4 Port Modbus Gateway | Minor | 3 | 8
63 | PG5-R2 | 120 Ohm Terminal Resistor | Minor | 6 | 6
64 | CP-E24/5.0 | Regulated Power Supply Amp 24 Vdc CP-E24/5 | Minor | 1 | 0
65 | 943 434-005 | Communication Cabinet Hirschmann Ethernet Switch | Minor | 1 | 2
Totals |  |  |  |  | 32
DC Combiner Board (DC Combiner Board)
68 | M223A8 | DC Meter DH96CPM Circutor |  | 2 | 9
69 | 354180 | Fuse Holders NH3 630A | Minor | 9 | 5
70 | 357000 | Micro Switches NH Fuses | Minor | 33 | 0
70.1 | 357010 | Micro Switches NH Fuses | Minor | 7 | 7
71 | WT - 6 | M6mm Din Rail Terminal Blocks | Minor | 32 | 32
72 | WT - 2.5 | M2.5mm Din Rail Terminal Blocks | Minor | 10 | 10
73 | WT - 2.5 PE | M2.5mm Earth Terminals | Minor | 6 | 6
Totals |  |  |  |  | 69
Earthwire (Earthwire)
400 | Earthwire 25m2 | Earthwire 25m2 |  | 0 | 0
Totals |  |  |  |  | 0
Electric Fence (Electric Fence)
121 | EE-M2ZKP | Merlin Control Panel | Minor | 6 | 6
122 | Siren 9-230Vdc | Siren 9-230Vdc | Minor | 5 | 5
123 | SR-STRN | Strobe Light 12 Vdc | Minor | 3 | 3
124 | EA-F6S | Ferrules 6mm | Minor | 50 | 50
125 | EA-F10 | Ferrules 10mm | Minor | 100 | 34
126 | EA-F16 | Ferrules 16mm | Minor | 100 | 90
127 | 1.5mmBluePanelWire | 1.5mm Blue Panel Wire (Meters) | Minor | 60 | 60
128 | 1.5mmBlackPanelWire | 1.5mm Black Panel Wire (Meters) | Minor | 50 | 50
130 | SignsPlastic | Signs Plastic (Danger Electric Fence) | Minor | 180 | 0
131 | ElectFencePlastInsul | Electric Fence Plastic Insulators Polymould | Minor | 4400 | 0
Totals |  |  |  |  | 298
EPC Spares (EPC Spares )
67 | Combiner box units | Combiner box units | Minor | 2 | 1
96 | Torqtube125x125Assem | Torque tube 125 x 125 Assembly M - TR - WD - 007 | Minor | 5 | 0
97 | Bushing125x125M | Bushing 125 x 125 M - TR - PA - 014 | Minor | 10 | 0
98 | LeverArmPlate2m | Lever Arm Plate 2 m M- TR - PA - 024 | Minor | 5 | 0
99 | LeverArmWeldAssem | Lever Arm Weld Assembly M - TR - WD - 010 | Minor | 5 | 0
100 | DriveLinkWeldAssem | Drive Linkage Weld Assembly M- TR - WD - 009 | Minor | 5 | 0
101 | LinkageBoltD40 | Linkage Bolt D 40 M - TR - PA - 030 | Minor | 5 | 0
102 | BedFrameElephantEar | Bed Frame Elephant Ear M - TR - WD - 005 | Minor | 5 | 0
103 | PotentEqualWire | Potential Equalisation Wire M- TR - PA -043 | Minor | 5 | 0
104 | ML Panel Structure | ML Panel Structure | Minor | 30 | 0
105 | Panel Clamp KIT | Panel Clamp KIT | Minor | 25 | 0
107.2 | 730010 | Control Box for Screw jack & Motor Unit ACTUATOR | Minor | 3 | 3
137 | 1ZSCT21002398 | LV 22kV Bushing 20 MVA Transformer | Major | 1 | 1
138 | Digital Thermometer | Digital Thermometer | Major | 1 | 1
139 | 530704-4 | Winding temperature Thermometer Analogue | Minor | 1 | 1
140 | Y220FGM | Oil level Indicator Main Conservator tank | Minor | 1 | 1
140.1 | R140FGM | Oil level Indicator Tapchanger Conservator tank | Minor | 1 | 1
141 | Airbreatherconserv | Air breather for conservator TX 5 | Minor | 1 | 1
143 | ComCloseCoilAssem | Complete Close Coil Assembly | Minor | 1 | 0
144 | CompTripCoilAssem | Complete Trip coil Assembly | Minor | 1 | 0
146 | Assem132kvBreakppole | Complete Assembly 132 kv Breaker phase pole | Major | 1 | 1
147 | SF6GasFillDevPressGa | SF6 Gas FILLING Device With Pressure Gauge | Minor | 1 | 1
150 | 1SL0225A00 | CT Building LV String Distribution Box Complete | Minor | 1 | 1
208 | DHC-96 CPM | digital multimeter 96 x 49, 2 output relays |  | 0 | 0
Totals |  |  |  |  | 13
Filters (Filters)
710W x 1090L x 48mm | PGSSNSG000 | Panel Filter - Galvanised Frame - Self Support |  | 0 | 0
1000W x 1200L x 48mm | PGSSNSG000. | Panel Filter - Galvanised Frame - Self Support. |  | 0 | 0
Totals |  |  |  |  | 0
MV CT Fan CONTROL (MV CT Fan CONTROL [ Ventela)
157.1 | 60.13.8.230.0040 | Finder 11 pin Relay 230 v | Minor | 0 | 7
158 | DTB 4824 RR | Delta Process Controler 100-240 v 50hz 5 va | Minor | 0 | 3
159.1 | RF 38 0160 | Lovato Thermal Overload Relay | Minor | 0 | 1
160 | BF 09 10 A230 | Lovato Contactor 230 vac 3.9 amp 4.2 KW | Minor | 0 | 0
Totals |  |  |  |  | 11
MV Components (MV Components)
44 | HBFCACABNAA1ANN1XE | REF 615 Relay-HBFEAEAGNAA1BNA11E |  | 1 | 1
44.1 | Opp - 20 -3914295-1 | REF 615 Protection Relay HBFEAEAGNAA1BNA11G | Major | 2 | 4
45 | 16Q3128239 | 1250 KVA Vacuum Cast Filled Transformer | Major | 2 | 2
45.1 | 16Q2965432 | 2000 kVA Vacuum Cast Filled Dry - VSD 12 Pulse tra |  | 1 | 1
46 | TJP6.022000/3/100/3 | Voltage Transformer-TJP 6.0 VT | Major | 15 | 10
47 | 716964 | Current Transformer TPU 60.13 300/1/1A | Major | 3 | 3
47.1 | 716964_1 | Current Transformer TPU 63.13 10000/1/1A | Major | 6 | 6
48 | 2CSG524000R2021 | TMD-T4/96 Temperature control unit | Minor | 2 | 1
49 | AAO SG 13 | AC/DC Temp Relay TR2 PT 100 Temp relay | Minor | 3 | 3
49.1 | EEO1F02 | TEMP Controle SC 501/ 230 | Minor | 3 | 3
49.2 | TIR/1805 230V | T1R/180 Temp Relay 230v | Minor | 3 | 3
49.3 | C4-2-230 | Relay C4-2-230 | Minor | 3 | 4
50 | AAO SG 02 | AC/DC Multi Fuction Multi Range Timer | Minor | 3 | 5
51 | 1LES67100622 | TECSYSTEM 489/2014 PT100/RTD Blue Cable | Minor | 24 | 25
51.1 | Moxa Ethernet Switch | Moxa Ethernet Switch | Minor | 0 | 1
52 | 240x12mm CrimpingLug | 240 x 12mm Crimping Lugs | Minor | 30 | 30
53 | CCV24kVREF615 | MV Switch Gear Ring Main Safe Plus(RMU) | Major | 2 | 2
55 | TTS130702952 | PolyLux25KvaTransPrimary Winding 350V/Sec Wind400V | Major | 2 | 1
280 | AH-0311-4 | 12-30VDC Smoke Detector | Minor | 4 | 0
Totals |  |  |  |  | 105
MV Substation (MV Substation (132/22kV) and r)
151 | EK6-2406-210 | 22 kV Earth Switch | Major | 1 | 1
152 | 22kVSgearSurProtect | 22 kV Switchgear Surge Protector | Major | 3 | 3
153 | 22 kVSgearContacts | 22 kV Switchgear Contacts | Major | 60 | 60
154 | GCE8006045R0102 | 22 kV Switchgear Busbar Spout | Major | 6 | 6
155 | MWD24 | Varistor/Surge Arrestor | Major | 3 | 3
156 | 22kVBusbarInsulator | 22 kV Busbar Insulator (Indoor Switchgear) | Major | 15 | 19
189 | 2CDS251103R0338 | S201-Z 4 NA Mini Circuit Breaker Z-Char | Minor | 0 | 0
200 | YZ-8136-EMG | Emergency light complete unit | Minor | 2 | 0
201 | LED-YZ-T8-18W-N | 18W LED fiiting 4ft IP65 tube not |  | 0 | 10
202 | EMG-LEDT8-A4FR | 230Vac 18W daylight frosted (6000K) |  | 0 | 10
203 | LED-YZ-T8-2X18W | 2x18W LED fitting 4ft IP65 tube not |  | 0 | 5
204 | LEDT8-A4FR-DL | 230Vac 18W daylight frosted |  | 0 | 1
205 | HF2020 | GPSANT HF2020 GPS Antenna |  | 0 | 0
206 | 20M RG58 CABLE | 20M RG58 Cable |  | 0 | 0
207 | MGB S-PRO SURGE PROT | MGB S-Pro Surge Protector |  | 0 | 0
Totals |  |  |  |  | 118
Power Transformer (Power Transformer 132/22kV))
136 | 1ZSCT21002147/02 | HV 132kV Bushing 20 MVA Transformer | Major | 1 | 3
141.1 | AirbreatherNECTX2 | Air breather for NEC TX 2 | Minor | 2 | 2
142 | 1302HL | Silica gel 20kg | Minor | 20 | 1
148 | SF6 Gas Leak Detecto | SF6 Gas Leak Detector | Minor | 1 | 0
149 | 2XBottlesSF 6 Gas40k | 2 X Bottles of SF 6 Gas ea bot 40kg gas | Minor | 2 | 0
Totals |  |  |  |  | 6
PV Modules (PV Modules)
1.1 | 330Wp | Chint Astronergy PV Modules | Major | 0 | 162
1.2 | PV-HTM-380W | PV-HTM-380W-POLY - TIER 1 HAITAI 380P ULTRA EFF PV | Major | 893 | 83
1.3 | 40mm Solar End Clamp | 40mm Solar End Clamps |  | 326 | 0
Totals |  |  |  |  | 245
PVS 800 Inverter (PVS 800 Inverter)
13 | 3AUA0000114471 | Inverter PVS800-104-0315Kw-V+C126+V991 | Major | 10 | 0
13.1 | 3AUA0000114471R | Repaired Inverter PVS800-104-0315Kw-V+C126+V991 |  | 0 | 0
13.2 | 3AUA0000114471D | Damaged Inverter PVS800-104-0315Kw-V+C126+V991 |  | 0 | 0
14 | 3AUA0000128226 | LC Filter Type: SLCL-16 | Major | 3 | 0
14.1 | 3AXD50000014935 | SLCL18 filter kit | Major | 3 | 1
15 | 10005019 | Fan Axial Type W2E143-AA09-01 Door Fans [Cabinet ] | Minor | 20 | 21
15.1 | W2E143-AA09-01 | Fan Axial TypeACS 800-104 R8i Inverter Module Fans | Major | 20 | 19
15.2 | 3AXD50000260454 | Fan Axial Type ACS800 ALCL Filter Fans | Major | 1 | 1
15.3 | 68969972 | Fan Power Supply Board - Type APPS - 11C | Major | 2 | 4
15.4 | 3AXD50000038423 | Fan Motor Control Board - type AFIN - 02C | Major | 2 | 2
16 | 64803689 | Charging Resistors Type: CBH 165 CH 414 5RO 10 ohm | Minor | 8 | 6
18 | 64606778 | RMBA-01 MODBUS Adaptor 3060159EL | Major | 3 | 4
19 | 3AUA0000036340 | RAPI-01C Adaptor Board to 24 V J-067 (Filter) | Major | 2 | 4
20 | 64606948 | DDCS-COMMUN OPTI RDCO-01C | Major | 2 | 2
20.1 | M 223AB | DC Meter DH96CPM Circutor |  | 2 | 0
21 | 3AUA0000036521 | Control Unit (PLC) Type: RDCU-12C (Master) | Major | 2 | 2
22 | 64702475 | Auxilary Measure NAMU/01C | Major | 3 | 6
23 | 64669982 | PPCS Branch & DA APBU-44C | Major | 2 | 3
24 | 68299497 | Phoenix Reg Power Supply PS-100-240 AC2x15Vdc | Minor | 4 | 0
25 | 68596904 | Fuse-CC-Class 0.5amp600VAC10x38 mm barrelFNQ-R-1/2 | Minor | 24 | 24
26 | 373425 | Fuses NH3-200 Amp 1000V 30 Ka | Minor | 4 | 1
27 | 170M6412 (68731640) | Fuses 800 Amp Screw Flush 170M6412 1000 v |  | 80 | 16
28 | 3AUA0000076327 | Fuse Bussmann400A-1250VACIEC\1300VACULDIM1170M4393 | Minor | 96 | 93
29 | 170M5398 | Fuse 800A - 1250 Vac (IEC)/1300Vac(UL) Din2 | Minor | 40 | 27
30 | 68286671 | HRC Fuse Bussmann 20A-AC-690V (OFAA000GG20) | Minor | 50 | 50
31 | 381255 | Fuse Bussmann 160A- 500V NHC1 | Minor | 11 | 11
32 | 382255 | Fuse Bussmann 160A-690 V NH 1 | Minor | 6 | 3
33 | 373250 | Fuse Bussmann 125A-1000V 30Ka | Minor | 5 | 5
34 | 3AUA0000060155 | Arrestor 2 100vdc 12.5ka Type DG M YPV SCI 1000 FM | Minor | 10 | 20
35 | DEHN-DG-M-TN-275 FM | Arrestors DEHN-DG-M-TN-275 FM | Minor | 10 | 10
36 | 3AUA0000044173 | Protection Board Type: CVAR-01C Rev:A | Major | 10 | 10
37 | 3AXD50000000403 | Contactor AC.3: 4Kw-400V/100-250V 50/60 hz 4 POLE | Minor | 13 | 8
37.1 | 3AUA0000089006 | ABB Contactor [ AF 30-30-00-13 ] 3 POLE 15 kw | Minor | 2 | 7
37.2 | 1SBH137001R1331 | ABB aux Contactor [ NF31E-13 ] | Minor | 2 | 0
37.3 | 1SBN01O120R1011 | ABB aux Contactor [ CAL4-11] - |  | 3 | 9
37.4 | 1SBN010110R1001 | Auxilliary Contact Block CA4-01 | Minor | 10 | 10
38 | Auxilary Contacts | Auxilary Contacts | Minor | 3 | 17
39 | 64606816 | RDIO-01 Digital I/O Extension [ RETA -1 ] | Major | 2 | 2
39.1 | 64751727 | RETA - 01 ETHERNET ADAPTER | Minor | 2 | 2
40 | 3AUA0000108484 | Measurement transducer-LV 25-1200/SP1 | Major | 4 | 4
40.1 | 3AUA0000097611 | Temperature Transducer | Minor | 2 | 1
40.2 | 3AUA0000106219 | Earth fault Transducer PGND - 2 | Minor | 2 | 0
41 | 58985066 | 2 x 2.2 nf 6,3 Kvdc Filter Capacitor | Minor | 45 | 51
42 | 3AUA0000094517 | Neta-21 Kit | Major | 2 | 5
42.1 | 1SFL597001R7111 | ABB DC CONTACTOR (AF460-30-11) | Major | 0 | 0
42.2 | 64399756 | ABB AC CONTACTOR (AF580301170) | Major | 3 | 0
42.3 | 1SFL597025R6811 | GAF4601011 2460V DC Contactor |  | 2 | 1
42.4 | NEXA21 | Nexa 21 Fieldbus Kit |  | 0 | 5
159 | NF31E-13 | ABB Contactor | Major | 2 | 0
167 | 64209426 | MURR Power Supply MPS5-230/24 | Major | 1 | 1
170 | B91065131W | Bender Earth Relay ISOPV-335 | Minor | 1 | 1
171 | B98039020W | Bender Earth Relay AGH-PV-3 | Major | 1 | 1
173 | TC 1 D 0910 N7 | Contactor TC 1 D 0910 N7 | Minor | 2 | 11
174 | 68692172 | WIRE SET; ACS800104XXXX3/5/7 |  | 2 | 0
210 | 68685826 | MAIN CIRC. INTERF AINT14C |  | 2 | 0
211 | 68239290 | CAPACITOR; 123UF / 500VAC |  | 2 | 0
212 | EGDR71C-FS450R12OE4R | IGBT Gate Driver Board |  | 0 | 0
213 | 64605666 | APOW-01C; POWER SUPPLY BOARD |  | 0 | 0
214 | 68569354 | IGBT MODULE+DRIVE |  | 0 | 0
215 | 68909058 | TEMP MEASURING BO ATMB-01C |  | 0 | 18
Totals |  |  |  |  | 499
SCADA System (SCADA System)
6 | 1SAP180600R0001 | TA524BO Empty Module Cover Plate | Minor | 4 | 4
8 | PSIREPRS485W2 | Repeater RS 485 (PSI REP RS485W2) | Minor | 2 | 3
9 | 1SAP111100R0270 | TB511/ETH-BI24VDC1CouplerSlot Ethernet RJ45 CPU | Minor | 2 | 2
10 | 1SVR427035R0000 | Power Supply CP-E24/10A | Minor | 1 | 1
11 | 1SAP250700R0001 | ABB DA501 I/O 24 Digital Analoge In/output Module | Minor | 7 | 7
11.1 | FIB/NON/005 | Fibre OpticalPigtail1mSTPCSimplexUnjackedMM50/125 | Minor | 14 | 4
11.2 | FIB/NON/037 | Midcouplers SC Simplex MM | Minor | 6 | 6
11.3 | FIB/NON/094 | Duplex Patchcord 5m SC - SC MM 2 mm LSZH Orange | Minor | 27 | 27
11.4 | FIB/NON/095 | Duplex Patchcord 10 m SC-ST MM 1.8 mm LSZH Orange | Minor | 20 | 20
12 | 1SAP150200RO271 | PLC AC 500 PM592 ETH Programmable Logic Controlier | Minor | 1 | 0
303 | 1478230000 | PRO MAX 120W 12V 10A Power Supply |  | 0 | 0
Totals |  |  |  |  | 74
Security (Security)
114 | 9C82F3W2Z100 | HD IP SPEED DOME Camera 24 vdc | Minor | 3 | 2
114.1 | 1.0.01.07.12974 | HD IP SPEED DOME Camera 12 vdc | Minor | 1 | 0
115 | 9142-24T | (CCTV) + infrared/Ultrasonic barriers | Minor | 1 | 2
116 | PigTailsWhiteG2.5/12 | Fibre Optc Pig Tails White G2.5/125 | Minor | 4 | 0
117 | PigTails1M ST/PC/MM | Fibre Optic Pig Tails 1M ST/PC/MM 50/125 LSZH | Minor | 4 | 0
118 | MEGALSLMSCLC05 | Fibre Optic Pig Tails MM OM2 SC-LC 5M | Minor | 27 | 0
119 | STLC10MZ | Fibre Optic Pig Tails Leads | Minor | 12 | 0
120 | UsedFibreOpticPigTai | Used Fibre Optic Pig Tails Leads | Minor | 17 | 0
180 | 9B05W2B1ZZ04 | IR Bullet IP Camera | Major | 1 | 0
181 | 010PSUP027 | Mains Transformer 230 v 40 va | Major | 1 | 1
182 | CCTV-CL100/1000 | CCTV Surge Arrestors 100 Base - T - Protect | Minor | 1 | 4
183 | AC-CS1100 | Proximity Meters AC 1100 UL Slimline | Minor | 1 | 4
184 | Pole Attachment | Pole Attachment | Minor | 1 | 1
185 | IGS-624HPT | Ethernet Switch 4 port 10/100/1000T | Minor | 1 | 0
186 | ACS001071F | I - Nett Access Control Units | Minor | 1 | 2
187 | NETSTAR XT700 | UPS Alto | Minor | 1 | 0
188 | AXIS P1455-LE CAMERA | Axis P1455-Le Camera |  | 0 | 0
Totals |  |  |  |  | 16
String Combiner Box (String Combiner Boxes)
66 | n10185903 | 15 Amp fuses PV - 15 A 10 F | Minor | 72 | 46
66.1 | 1SCA103719R1001 | Switch Disconnector 200 Amp OT200E33P | Minor | 3 | 3
67.1 | RS485 | RS 485 Cable 2x2x0.5 Screened | Minor | 610 | 610
74 | 1238130000 | Weidmuller Transclinic 14i+ | Minor | 14 | 4
75 | 1SVR427031R0000 | Regulated Power Supply1.25 Amp 24 Vdc CPE 24/1.25 | Minor | 4 | 0
76 | 2CT 880395 0R0100 | Surge Arrestor OVR PV 40 - 1000 C | Minor | 3 | 0
76.1 | 2CDS252001R0204 | MCB S202C20 | Minor | 3 | 3
78 | PSIMOSRS485W2FO-850T | Phoenix Double Channel FO CONVERTER | Minor | 2 | 5
79 | 2CSM204753R1801 | Fuse HoldPMF10x38 3 Ph/E 93/32 Fuse Switch Discon | Minor | 3 | 2
80 | 2CDS252001R0104 | ABB Double Pole MCB MCB S202-C10 | Minor | 5 | 5
80.1 | 2CCS800900R0021 | ABB S800-AUX/ALT Auxiliary Contact | Minor | 4 | 2
81 | 2CDS252001R0024 | ABB Double Pole MCB MCB S202 -C 2A | Minor | 2 | 2
82 | ZVE11 RELE | 11 Pin Din Mount Relay Base | Minor | 2 | 2
83 | 1530700000 | MC4 Female Housing | Minor | 60 | 55
84 | 1530670000 | MC4 Female Crimping Lug WM 4C BT | Minor | 60 | 26
85 | PVC46M | MC4 Male Housing | Minor | 60 | 52
86 | 1530680000 | MC4 Male Crimping Lug SFKO WM 4 C BT | Minor | 60 | 17
Tools | MC4 crimping tool | MC4 crimping tool | Minor | 2 | 1
Totals |  |  |  |  | 835
Trackers (Trackers)
87 | 1345100300 | 380V LS Contactors MC 12B (24 Vdc) | Minor | 10 | 5
87.1 | 1347100300 | 380V LS Contactors MC 22 B (24 Vdc) | Minor | 5 | 0
88 | XEC-D32H/D1 | LS PLC XEC/DR32H/D1 | Minor | 3 | 5
89.1 | XBF-AD 04C | LS XBF/AD 04A Voltage/Curr Input Module |  | 0 | 10
90 | XP30/BTE/DC | LS XP30/BTE/DC Touch Panel (New) | Major | 5 | 6
91 | Anemometerconveter | Anemometer & Wind Speed Voltage Converter Unit | Minor | 4 | 0
91.1 | 918224 | Anemometer | Minor | 5 | 10
92 | 730001 | Shock Absorber's | Minor | 32 | 121
93 | 3282 | Tracker Box Fan Covers (Rittal) | Minor | 5 | 5
94 | PRO ECO 3 240W 24V | Weidmuller Electronic power supply | Minor | 4 | 3
95 | ZCT290L-LNT | Inclinometers 5 Vdc | Minor | 10 | 43
106 | M8 Screw KIT | M8 Screw KIT | Minor | 50 | 0
107.1 | CD3230U4S53.06P3CL-R | Screw Jack | Major | 0 | 0
107.3 | Joycedaysonscrewjack | Joyce dayson screw jack protective boot | Minor | 20 | 0
107.4 | BOOT(30T)(T4)(53.75" | BOOT(30T)(T4)(53.75" |  | 10 | 0
Totals |  |  |  |  | 208
UPS (UPS)
108 | 3915100120/s | SNMP Card Relay I/O | Minor | 1 | 0
109 | 3915100422/S | Modbus Comms Card | Minor | 12 | 0
110 | 4amp500V1038100Ka | Fuses 4 amp 500V 1038 100Ka | Minor | 70 | 0
111 | 6amp500V1038100Ka | Fuses 6 amp 500V 1038 100Ka | Minor | 20 | 0
112 | 502R21 | Delta Ethernet/UPS Module | Minor | 7 | 4
Totals |  |  |  |  | 4
Ventilation Systems (Ventilation Systems)
250 | 3AXD50000046648 | ABB ACH580-31-09A5-4PN:4kW, IN:9,4AProtection clas | Major | 1 | 1
251 | 3AXD50000038987 | ABB ACH580-01-12A7-4 Pn 5,5 kW, I2n 12,6 A, Protec |  | 1 | 1
252 | 6ES7215-1AG40-0XB0 | Siemens S7 1200 CPU 1215C |  | 1 | 1
253 | 6AV2123-2DB03-0AX0 | SIMATIC HMI, KTP400 Basic |  | 1 | 1
254 | 6ES7231-5PD32-0XB0 | SIMATIC S7-1200, Analog input, SM 1231 RTD, 4xAI R |  | 1 | 1
255 | 6ES7972-0BA52-0XA0 | SIMATIC DP, Connection plug for PROFIBUS up to 12 |  | 1 | 1
256 | DM-2012-LCD | DWYER DIGIHELICDIFFERENTIAL PRESSURE TRANSMITTER |  | 1 | 1
257 | MODEL 2000-500PA | DWYER MAGNEHELICDIFFERENTIAL PRESSURE TRANSMITTER |  | 1 | 1
258 | 393100240060 | 6A 1CO SLIM RELAY INTERFACE 24VAC/DC |  | 1 | 2
259 | 553490240040 | 7A 4CO MINI PLUG-IN RELAY 24VDC |  | 1 | 1
260 | 9402SPA | 55 SER 4P SURF/RAIL MOUNT REL SOCKET |  | 1 | 1
261 | PT100 | Temperature Sensor |  | 1 | 1
262 | ø630mm PF63R Impelle | INVERTER FAN IMPELLER |  | 1 | 1
263 | ø560mm PF56R Impelle | TRANSFORMER FAN IMPELLER |  | 1 | 1
264 | 5.5kW Premium Effici | INVERTER FAN MOTOR |  | 1 | 1
304 | Filter 710W x 1090L | PGSSNSG000 - Panel Filter - 710Wx1090Lx 48mm |  | 0 | 0
305 | Filter 1000W x 1200L | PGSSNSG000 - Panel Filter 1000W x 1200L x 48mm |  | 0 | 0
365 | 3kW Premium Efficien | TRANSFORMER FAN MOTOR |  | 1 | 1
Totals |  |  |  |  | 17
Weather Station (Weather Station)
300 | Campell CX 1000x | Campell CX 1000x | Minor | 0 | 1
2 | CMP11 | Pyranometer CMP 11 | Major | 3 | 4
306 | Dustvue-01 | Dust IQ |  | 0 | 1
3.1 | H122P22-CY2PRx0.22 | Solar Irradiance Sensor Supply Cable | Major | 5 | 5
301 | Moxa ISD 1230-T | Moxa ISD 1230-T |  | 0 | 1
302 | SDI12 MPPT | SDI12 MPPT |  | 0 | 0
3 | SI-l-420TC-D | Ref Cell Solar Irrad Sensor-IMTModel Si-I-420TC-D | Major | 5 | 5
5.1 | STD800 12VMoun Frame | STD 800 12V 80 W Solar Module MOUNTING Frame | Major | 1 | 1
4.1 | UD1100002-01 | Serial to Ethernet Converter |  | 3 | 3
4.2 | US HTS 8517.69.0000 | Ethernet Adapter | Major | 3 | 3
4.1 | US HTS 8517.80.0000 | Serial to Ethernet Converter | Major | 3 | 0
5 | WP56 ZA-ZEC-PTG | STD 800 12V 80 W Solar Module | Major | 1 | 1
Totals |  |  |  |  | 25
Sage 200 Evolution (Registered to Renewable Management (Pty) Ltd)