## PM08 MV
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-008 |  |  |  | Monthly Inspection for CT building MV side
| Made by: |  |  | Approved by: |  |  | Date of Last Revision:
{checklist_made_by} |  |  |  | {last_revision_approved_by} |  |  | {last_revision_date}
| Plant: | Witkop Solar Plant | Maintenance team: | {maintenance_team}
| Date: | {inspection_date} | Start hour: | {started_at} |  | Finished hour: |  |  | {finished_at}
| Ring / Feeder #: |  |  | Location: | {location}
Note: Check the values before and after of the maintenance.
| Item | Description | [6 empty] | Observations
Pass/Fail
| 1 | Temperature Monitoring Device
| 1.1 | Temp 1 (Red ph - L1) | [6 empty] | {observations}
| 1.2 | Temp 2 (White ph - L2) | [6 empty] | {observations}
| 1.3 | Temp 3 (Blue ph - L3) | [6 empty] | {observations}
| 1.4 | Temp 4 (Room Temp) | [6 empty] | {observations}
| 2 | RMU SF6 gas
| 2.1 | Status (Green Pass: Yellow-Red Fail) | [6 empty] | {observations}
| 3 | ABB REF615 relay
| 3.1 | Check for absence of alarms | [6 empty] | {observations}
| 3.2 | Check relay status (remote/local) | [6 empty] | {observations}
| 3.3 | Check relay is operating normally | [6 empty] | {observations}
| 4 | Artificial ventilation
| 4.1 | Check status of Inverter side fan | [6 empty] | {observations}
| 4.2 | Check status of Transformer side fan | [6 empty] | {observations}
| 4.3 | Check status of fan magnehelic guages | [6 empty] | {observations}
| 4.4 | Check status of fan filters | [6 empty] | {observations}
| 4.5 | Check for any blockage that can influence airflow | [6 empty] | {observations}
| 5 | General Inspection of structure and devices
| 5.1 | General Inspection and cleaning of cabinet | [6 empty] | {observations}
| 5.2 | Check status of lights and fixtures | [6 empty] | {observations}
| 5.3 | Check door hinges, handles and locks | [6 empty] | {observations}
| 5.4 | Check status of labelling and emergency signage | [6 empty] | {observations}
| 5.5 | Check for any fauna (animals and insects) that may have entered the unit | [6 empty] | {observations}
| 5.6 | Make sure that the unit is clear from any type of flora (plants) | [6 empty] | {observations}
| 5.7 | Inspect the unit for any damp and leaks that may be cased by rain and dew | [6 empty] | {observations}
| 5.8 | Check for any fauna (animals and insects) that may have entered the unit | [6 empty] | {observations}
| 5.9 | Check doorlocks, hinges and mechanical parts as wel as isolating handles MV & LV | [6 empty] | {observations}
| 5.1 | Thermal scan of all connections MV | [6 empty] | {observations}
OBSERVATIONS
{final_observations}
| {inspected_by} | [6 empty] | {approved_by}
| Inspecton by (Name) | [5 empty] | Approve (Name)
SIE Proprietary Information | [9 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1