## CT01_CT04
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Annual Maintenance of Security and fire alarm systems.
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Prince, Moses, & Tshepo
| Date: | 2025-09-05 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _1_ | CT_2_ | CT_3_ | CT_4_
| 1 | Security and fire alarm systems
| 1 | Checking of the overall performance of the installation |  |  |  |  | p | p | p | p
| 2 | Cleaning of the components |  |  |  |  | p | p | p | p
| 3 | Manual extinguishers revision: - Check the place they are located, accessibility and visibility |  |  |  |  | p | p | p | p
| 4 | Check the correct status of the seals and that they have not been used |  |  |  |  | p | p | p | p
| 5 | External aspect: Absence of corrosion and impacts) |  |  |  |  | p | p | p | p
| 6 | Check the proper pressure indication on the manometer |  |  |  |  | p | p | p | p
| 7 | Final test setup (with each power source). |  |  |  |  | p | p | p | p
OBSERVATIONS
| Prince | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT05_CT08
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Annual Maintenance of Security and fire alarm systems.
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Prince, Moses, & Tshepo
| Date: | 2025-09-05 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _1_ | CT_2_ | CT_3_ | CT_4_
| 1 | Security and fire alarm systems
| 1 | Checking of the overall performance of the installation |  |  |  |  | p | p | p | p
| 2 | Cleaning of the components |  |  |  |  | p | p | p | p
| 3 | Manual extinguishers revision: - Check the place they are located, accessibility and visibility |  |  |  |  | p | p | p | p
| 4 | Check the correct status of the seals and that they have not been used |  |  |  |  | p | p | p | p
| 5 | External aspect: Absence of corrosion and impacts) |  |  |  |  | p | p | p | p
| 6 | Check the proper pressure indication on the manometer |  |  |  |  | p | p | p | p
| 7 | Final test setup (with each power source). |  |  |  |  | p | p | p | p
OBSERVATIONS
| Prince | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT09_CT12
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Annual Maintenance of Security and fire alarm systems.
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Prince, Moses, & Tshepo
| Date: | 2025-09-05 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _1_ | CT_2_ | CT_3_ | CT_4_
| 1 | Security and fire alarm systems
| 1 | Checking of the overall performance of the installation |  |  |  |  | p | p | p | p
| 2 | Cleaning of the components |  |  |  |  | p | p | p | p
| 3 | Manual extinguishers revision: - Check the place they are located, accessibility and visibility |  |  |  |  | p | p | p | p
| 4 | Check the correct status of the seals and that they have not been used |  |  |  |  | p | p | p | p
| 5 | External aspect: Absence of corrosion and impacts) |  |  |  |  | p | p | p | p
| 6 | Check the proper pressure indication on the manometer |  |  |  |  | p | p | p | p
| 7 | Final test setup (with each power source). |  |  |  |  | p | p | p | p
OBSERVATIONS
| Prince | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT13_CT16
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Annual Maintenance of Security and fire alarm systems.
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Prince, Moses, & Tshepo
| Date: | 2025-09-05 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _1_ | CT_2_ | CT_3_ | CT_4_
| 1 | Security and fire alarm systems
| 1 | Checking of the overall performance of the installation |  |  |  |  | p | p | p | p
| 2 | Cleaning of the components |  |  |  |  | p | p | p | p
| 3 | Manual extinguishers revision: - Check the place they are located, accessibility and visibility |  |  |  |  | p | p | p | p
| 4 | Check the correct status of the seals and that they have not been used |  |  |  |  | p | p | p | p
| 5 | External aspect: Absence of corrosion and impacts) |  |  |  |  | p | p | p | p
| 6 | Check the proper pressure indication on the manometer |  |  |  |  | p | p | p | p
| 7 | Final test setup (with each power source). |  |  |  |  | p | p | p | p
OBSERVATIONS
| Prince | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT17_CT20
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Annual Maintenance of Security and fire alarm systems.
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Prince, Moses, & Tshepo
| Date: | 2025-09-05 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _1_ | CT_2_ | CT_3_ | CT_4_
| 1 | Security and fire alarm systems
| 1 | Checking of the overall performance of the installation |  |  |  |  | p | p | p | p
| 2 | Cleaning of the components |  |  |  |  | p | p | p | p
| 3 | Manual extinguishers revision: - Check the place they are located, accessibility and visibility |  |  |  |  | p | p | p | p
| 4 | Check the correct status of the seals and that they have not been used |  |  |  |  | p | p | p | p
| 5 | External aspect: Absence of corrosion and impacts) |  |  |  |  | p | p | p | p
| 6 | Check the proper pressure indication on the manometer |  |  |  |  | p | p | p | p
| 7 | Final test setup (with each power source). |  |  |  |  | p | p | p | p
OBSERVATIONS
| Prince | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT21_CT24
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Annual Maintenance of Security and fire alarm systems.
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Prince, Moses, & Tshepo
| Date: | 2025-09-05 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _1_ | CT_2_ | CT_3_ | CT_4_
| 1 | Security and fire alarm systems
| 1 | Checking of the overall performance of the installation |  |  |  |  | p | p | p | p
| 2 | Cleaning of the components |  |  |  |  | p | p | p | p
| 3 | Manual extinguishers revision: - Check the place they are located, accessibility and visibility |  |  |  |  | p | p | p | p
| 4 | Check the correct status of the seals and that they have not been used |  |  |  |  | p | p | p | p
| 5 | External aspect: Absence of corrosion and impacts) |  |  |  |  | p | p | p | p
| 6 | Check the proper pressure indication on the manometer |  |  |  |  | p | p | p | p
| 7 | Final test setup (with each power source). |  |  |  |  | p | p | p | p
OBSERVATIONS
| Prince | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1