## CT1_CT04
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-14 |  |  |  | Inspection for CT Building Energy Meter
| Made by: |  |  | Approved by: |  | Date of Last Revision:
| Plant: | Witkop Solar Plant | Maintenance team:
| Date: |  | Start hour: |  | Finished hour:
| Location: | [8 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
{location}
| # | Description |  |  |  |  | Pass | Fail | Observations
| 1 | CT Building Energy meter Inspection
| 1.1 | Check the condition of the connection
| 1.2 | Check if is reading/recording
| 1.3 | Check for errors on the screen
| 1.4 | Check communication with SCADA
| 1.5 | Check if closed and covered
| 1.6 | Check the grounding
Exterior cleaning of equipment and components
OBSERVATIONS
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [10 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT5_CT8
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-14 |  |  |  | Inspection for CT Building Energy Meter
| Made by: |  |  | Approved by: |  |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Bra Mo, Tshepo & Prince
| Date: | 25/09/2025 | Start hour: |  |  | Finished hour:
| Location: |  | CT 05-8 | [8 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[8 empty] | CT05 |  | CT06 |  | CT07 |  | CT08
| # | Description | [5 empty] | Pass | Fail | Pass | Fail | Pass | Fail | Pass | Fail | Observations
| 1 | CT Building Energy meter Inspection
| 1.1 | Check the condition of the connection | [5 empty] | p |  | p |  | p |  | p
| 1.2 | Check if is reading/recording | [5 empty] | p |  | p |  | p |  | p
| 1.3 | Check for errors on the screen | [5 empty] | p |  | p |  | p |  | p
| 1.4 | Check communication with SCADA | [5 empty] | P |  | P |  | P |  | P
| 1.5 | Check if closed and covered | [5 empty] | p |  | p |  | p |  | p
| 1.6 | Check the grounding | [5 empty] | p |  | p |  | p |  | p
Exterior cleaning of equipment and components
OBSERVATIONS
|  | PRINCE | [9 empty] | Moshe
| Inspecton by (Name & Sign) | [5 empty] | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT09_CT12
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-14 |  |  |  | Inspection for CT Building Energy Meter
| Made by: |  |  | Approved by: |  |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Bra Mo, Tshepo & Prince
| Date: | 25/09/2025 | Start hour: |  |  | Finished hour:
| Location: |  | CT 09-12 | [8 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[8 empty] | CT09 |  | CT10 |  | CT11 |  | CT12
| # | Description | [5 empty] | Pass | Fail | Pass | Fail | Pass | Fail | Pass | Fail | Observations
| 1 | CT Building Energy meter Inspection
| 1.1 | Check the condition of the connection | [5 empty] | p |  | p |  | p |  | p
| 1.2 | Check if is reading/recording | [5 empty] | p |  | p |  | p |  | p
| 1.3 | Check for errors on the screen | [5 empty] | p |  | p |  | p |  | p
| 1.4 | Check communication with SCADA | [5 empty] | P |  | P |  | P |  | P
| 1.5 | Check if closed and covered | [5 empty] | p |  | p |  | p |  | p
| 1.6 | Check the grounding | [5 empty] | p |  | p |  | p |  | p
Exterior cleaning of equipment and components
OBSERVATIONS
|  | PRINCE | [9 empty] | Moshe
| Inspecton by (Name & Sign) | [5 empty] | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT13_CT16
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-14 |  |  |  | Inspection for CT Building Energy Meter
| Made by: |  |  | Approved by: |  |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Bra Mo, Tshepo & Prince
| Date: | 25/09/2025 | Start hour: |  |  | Finished hour:
| Location: |  | CT 13-16 | [8 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[8 empty] | CT13 |  | CT14 |  | CT15 |  | CT16
| # | Description | [5 empty] | Pass | Fail | Pass | Fail | Pass | Fail | Pass | Fail | Observations
| 1 | CT Building Energy meter Inspection
| 1.1 | Check the condition of the connection | [5 empty] | p |  | p |  | p |  | p
| 1.2 | Check if is reading/recording | [6 empty] | F | p |  | F |  | p
| 1.3 | Check for errors on the screen | [5 empty] | p |  | p |  | p |  | p
| 1.4 | Check communication with SCADA | [6 empty] | F | P |  |  | F | P
| 1.5 | Check if closed and covered | [5 empty] | p |  | p |  | p |  | p
| 1.6 | Check the grounding | [5 empty] | p |  | p |  | p |  | p
Exterior cleaning of equipment and components
OBSERVATIONS
CT 13 Meter 2 need to be replaced
|  | PRINCE | [9 empty] | Moshe
| Inspecton by (Name & Sign) | [5 empty] | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT17_CT20
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-14 |  |  |  | Inspection for CT Building Energy Meter
| Made by: |  |  | Approved by: |  |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Bra Mo, Tshepo & Prince
| Date: | 25/09/2025 | Start hour: |  |  | Finished hour:
| Location: |  | CT 17-20 | [8 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[8 empty] | CT17 |  | CT18 |  | CT19 |  | CT20
| # | Description | [5 empty] | Pass | Fail | Pass | Fail | Pass | Fail | Pass | Fail | Observations
| 1 | CT Building Energy meter Inspection
| 1.1 | Check the condition of the connection | [5 empty] | p |  | p |  | p |  | p
| 1.2 | Check if is reading/recording | [5 empty] | p |  | p |  | p |  | p
| 1.3 | Check for errors on the screen | [5 empty] | p |  | p |  | p |  | p
| 1.4 | Check communication with SCADA | [5 empty] | p |  | P |  | P |  | P
| 1.5 | Check if closed and covered | [5 empty] | p |  | p |  | p |  | p
| 1.6 | Check the grounding | [5 empty] | p |  | p |  | p |  | p
Exterior cleaning of equipment and components
OBSERVATIONS
|  | PRINCE | [9 empty] | Moshe
| Inspecton by (Name & Sign) | [5 empty] | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT21_CT24
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-14 |  |  |  | Inspection for CT Building Energy Meter
| Made by: |  |  | Approved by: |  |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Bra Mo, Tshepo & Prince
| Date: | 25/09/2025 | Start hour: |  |  | Finished hour:
| Location: |  | CT 21-24 | [8 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[8 empty] | CT21 |  | CT22 |  | CT23 |  | CT24
| # | Description | [5 empty] | Pass | Fail | Pass | Fail | Pass | Fail | Pass | Fail | Observations
| 1 | CT Building Energy meter Inspection
| 1.1 | Check the condition of the connection | [5 empty] | p |  | p |  | p |  | p
| 1.2 | Check if is reading/recording | [5 empty] | p |  | p |  | p |  | p
| 1.3 | Check for errors on the screen | [5 empty] | p |  | p |  | p |  | p
| 1.4 | Check communication with SCADA | [6 empty] | F | P | F | P |  | P
| 1.5 | Check if closed and covered | [5 empty] | p |  | p |  | p |  | p
| 1.6 | Check the grounding | [5 empty] | p |  | p |  | p |  | p
Exterior cleaning of equipment and components
OBSERVATIONS
CT 21 & CT 22 need to be configured
|  | PRINCE | [9 empty] | Moshe
| Inspecton by (Name & Sign) | [5 empty] | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1