## NSPSWIT_A01_PM_008_SHT1
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-008 |  |  |  | Weekly Inspection for CT building MV side
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Neo Chauke |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members:
| Date: |  | Start hour: |  | Finished hour:
| Ring / Feeder #: |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT __ | CT__ | CT__ | CT__
| 1 | Temperature Monitoring Device
| 1.1 | Temp 1 (Red ph - L1)
| 1.2 | Temp 2 (White ph - L2)
| 1.3 | Temp 3 (Blue ph - L3)
| 1.4 | Temp 4 (Room Temp)
| 2 | RMU SF6 gas
| 2.1 | Status (Green Pass: Yellow-Red Fail)
| 3 | ABB REF615 relay
| 3.1 | Check for absence of alarms
| 3.2 | Check relay status (remote/local)
| 3.3 | Check relay is operating normally
| 4 | Artificial ventilation
| 4.1 | Check status of Inverter side fan
| 4.2 | Check status of Transformer side fan
| 4.3 | Check status of fan magnehelic guages
| 4.4 | Check status of fan filters
| 4.5 | Check for any blockage that can influence airflow
| 5 | General Inspection of structure and devices
| 5.1 | General Inspection and cleaning of cabinet
| 5.2 | Check status of lights and fixtures
| 5.3 | Check door hinges, handles and locks
| 5.4 | Check status of labelling and emergency signage
| 5.5 | Check for any fauna (animals and insects) that may have entered the unit
| 5.6 | Make sure that the unit is clear from any type of flora (plants)
| 5.7 | Inspect the unit for any damp and leaks that may be cased by rain and dew
| 5.8 | Check for any fauna (animals and insects) that may have entered the unit
| 5.9 | Check doorlocks, hinges and mechanical parts as wel as isolating handles MV & LV
| 5.1 | Thermal scan of all connections MV
OBSERVATIONS
Sifiso
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## NSPSWIT_A01_PM_008_SHT2
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
NSWIT-N1689-PM-008-r00 |  |  |  | Quarterly Inspection for CT building MV side
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Katlego Mogashoa |  |  |  | Tony Skosana |  | 2021-02-13
| Plant: | Witkop | Crew Members:
| Date: |  | Start hour: |  | Finished hour:
| Ring / Feeder #: |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT__ | CT__ | CT__ | CT__
| 6 | Temperature Monitoring Device
| 6.1 | Check status of current equipment for motor control
| 6.2 | General review of operation of switchgear.
| 6.3 | Openining and closing circuit breaker.
| 6.4 | Opening and closing of switches manoeuvre.
| 6.5 | Lubrication of the drive if necessary.
| 6.6 | Inspection of terminal bottles.
| 6.7 | Check the ground connections of the electrodes.
| 6.8 | Wetting of ground wells.
| 6.9 | Terminal and lid cleaning of power transformer.
| 6.1 | Check Status of power transformer protection.
| 6.11 | Check sealing of all joints of the power transformer.
| 6.12 | Check the heating elements functioning of the power transformer.
| 6.13 | Verification of electrical circuit breakers (SF6).
| 6.14 | Verification of the mechanical circuit breakers status and operating of the circuit breaker interlocks.
| 6.15 | Status and operating of the circuit breaker interlocks
| 6.16 | Lubrication of circuit breakers, if necessary.
| 6.17 | Visual inspection of instrument transformer.
| 6.18 | Check condition of insulators and bus bars.
| 6.19 | Check Status of insulators connections and bus bars.
| 6.2 | Resistance measurement of ground network of neutral and hardware.
| 6.21 | Protection relays checking.
| 6.22 | Check alarm and trip signals of temperature.
| 6.23 | Auxiliary relays checking.
| 6.24 | Alarm system checking.
| 6.25 | General cleaning.
OBSERVATIONS
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
Novasource Power Services Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1