## CT01_CT04
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Monthly Inspection for CT building Inverters (PM_06)
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Neo Chauke |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Lerato, Itu, Prince & Tshepo
| Date: | 20/05/2025 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _1_ | CT_2_ | CT_3_ | CT_4_
| 1 | Record all operating voltage and current reading via the front display panel
| 1.1 | Volts: |  |  |  |  | 645 | 629 | 640 | 633
| 1.2 | Amps |  |  |  |  | 620 | 620 | 621 | 633
| 2 | Inspect the exterior of the inverter |  |  |  |  | p | p | p | p
| 3 | Check the condition of cables and terminals |  |  |  |  | p | p | p | p
| 4 | Verify the absence of alarms in the control equipment |  |  |  |  | p | p | p | p
| 5 | Check appearance or cleanliness of the cabinet, ventilation system and all exposed surfaces |  |  |  |  | p | p | p | p
| 6 | Remove associated screws from left and right insect screws and clean with brush. Reinstall when done |  |  |  |  | p | p | p | p
OBSERVATIONS
| Tshepo | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT05_CT08
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Monthly Inspection for CT building Inverters (PM_06)
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Neo Chauke |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Lerato, Itu, Prince & Tshepo
| Date: | 20/05/2025 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _5_ | CT_6_ | CT_7_ | CT_8_
| 1 | Record all operating voltage and current reading via the front display panel
| 1.1 | Volts: |  |  |  |  | 640 | 640 | 640 | 633
| 1.2 | Amps |  |  |  |  | 621 | 621 | 621 | 620
| 2 | Inspect the exterior of the inverter |  |  |  |  | p | p | p | p
| 3 | Check the condition of cables and terminals |  |  |  |  | p | p | p | p
| 4 | Verify the absence of alarms in the control equipment |  |  |  |  | p | p | p | p
| 5 | Check appearance or cleanliness of the cabinet, ventilation system and all exposed surfaces |  |  |  |  | p | p | p | p
| 6 | Remove associated screws from left and right insect screws and clean with brush. Reinstall when done |  |  |  |  | p | p | p | p
OBSERVATIONS
CT 05.1 needs a DC breaker
| Tshepo | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT09_CT12
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Monthly Inspection for CT building Inverters (PM_06)
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Neo Chauke |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Lerato, Itu, Prince & Tshepo
| Date: | 20/05/2025 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _9_ | CT_10_ | CT_11_ | CT_12_
| 1 | Record all operating voltage and current reading via the front display panel
| 1.1 | Volts: |  |  |  |  | 640 | 640 | 642 | 633
| 1.2 | Amps |  |  |  |  | 621 | 621 | 624 | 620
| 2 | Inspect the exterior of the inverter |  |  |  |  | p | p | p | p
| 3 | Check the condition of cables and terminals |  |  |  |  | p | p | p | p
| 4 | Verify the absence of alarms in the control equipment |  |  |  |  | p | p | p | p
| 5 | Check appearance or cleanliness of the cabinet, ventilation system and all exposed surfaces |  |  |  |  | p | p | p | p
| 6 | Remove associated screws from left and right insect screws and clean with brush. Reinstall when done |  |  |  |  | p | p | p | p
OBSERVATIONS
| Tshepo | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT13_CT16
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Monthly Inspection for CT building Inverters (PM_06)
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Neo Chauke |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Lerato, Itu, Prince & Tshepo
| Date: | 20/05/2025 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _13_ | CT_14_ | CT_15_ | CT_16_
| 1 | Record all operating voltage and current reading via the front display panel
| 1.1 | Volts: |  |  |  |  | 655 | 655 | 640 | 640
| 1.2 | Amps |  |  |  |  | 620 | 620 | 615 | 621
| 2 | Inspect the exterior of the inverter |  |  |  |  | p | p | p | p
| 3 | Check the condition of cables and terminals |  |  |  |  | p | p | p | p
| 4 | Verify the absence of alarms in the control equipment |  |  |  |  | p | p | p | p
| 5 | Check appearance or cleanliness of the cabinet, ventilation system and all exposed surfaces |  |  |  |  | p | p | p | p
| 6 | Remove associated screws from left and right insect screws and clean with brush. Reinstall when done |  |  |  |  | p | p | p | p
OBSERVATIONS
| Tshepo | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT17_CT20
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Monthly Inspection for CT building Inverters (PM_06)
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Neo Chauke |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Lerato, Itu, Prince & Tshepo
| Date: | 20/05/2025 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _17_ | CT_18_ | CT_19_ | CT_20_
| 1 | Record all operating voltage and current reading via the front display panel
| 1.1 | Volts: |  |  |  |  | 640 | 640 | 640 | 633
| 1.2 | Amps |  |  |  |  | 622 | 621 | 620 | 621
| 2 | Inspect the exterior of the inverter |  |  |  |  | p | p | p | p
| 3 | Check the condition of cables and terminals |  |  |  |  | p | p | p | p
| 4 | Verify the absence of alarms in the control equipment |  |  |  |  | p | p | p | p
| 5 | Check appearance or cleanliness of the cabinet, ventilation system and all exposed surfaces |  |  |  |  | p | p | p | p
| 6 | Remove associated screws from left and right insect screws and clean with brush. Reinstall when done |  |  |  |  | p | p | p | p
OBSERVATIONS
| Tshepo | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT21_CT24
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-006 |  |  |  | Monthly Inspection for CT building Inverters (PM_06)
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Neo Chauke |  |  |  | Floridas Moloto |  | 2023-07-04
| Plant: | Witkop | Crew Members: | Lerato, Itu, Prince & Tshepo
| Date: | 20/05/2025 | Start hour: |  | Finished hour:
|  |  |  | Location: |  |  |  |  | Inspection is complete: YES NO
| Item | Description | [5 empty] | Pass / Fail (P/F) |  |  | Observations
[7 empty] | CT _21_ | CT_22_ | CT_23_ | CT_24_
| 1 | Record all operating voltage and current reading via the front display panel
| 1.1 | Volts: |  |  |  |  | 640 | 650 | 640 | 645
| 1.2 | Amps |  |  |  |  | 620 | 620 | 621 | 623
| 2 | Inspect the exterior of the inverter |  |  |  |  | p | p | p | p
| 3 | Check the condition of cables and terminals |  |  |  |  | p | p | p | p
| 4 | Verify the absence of alarms in the control equipment |  |  |  |  | p | p | p | p
| 5 | Check appearance or cleanliness of the cabinet, ventilation system and all exposed surfaces |  |  |  |  | p | p | p | p
| 6 | Remove associated screws from left and right insect screws and clean with brush. Reinstall when done |  |  |  |  | p | p | p | p
OBSERVATIONS
| Tshepo | [5 empty] | Moshe
| Inspecton by (Name) |  |  |  |  | Approve (Name)
SIE Proprietary Information | [11 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1