## CT1_101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 01/03/2024
| Location: |  | CT1:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT1-101 | CT1-102 | CT1-103 | CT1-104 | CT1-105 | CT1-106 | CT1-107 | CT1-108 | CT1-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT1-101 to CT1-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT1-101 to CT1-109
| 3 | Electrical panels general clearing | bar: CT1-101 to CT1-109
| 4 | Visual check for loose connections | bar: CT1-101 to CT1-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT1-101 to CT1-109
| 6 | Check the condition of the surge arresters. | bar: CT1-101 to CT1-109
| 7 | Visual check for possible overheating. | bar: CT1-101 to CT1-109
| 8 | Electrical control panel voltages check. | bar: CT1-101 to CT1-109
| 9 | Check the door and lock. | bar: CT1-101 to CT1-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT1-101 to CT1-109
| 11 | Check communication with SCADA | bar: CT1-101 to CT1-109
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT1-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT1_201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 04/03/2024
| Location: |  | CT1:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT1-201 | CT1-202 | CT1-203 | CT1-204 | CT1-205 | CT1-206 | CT1-207 | CT1-208 | CT1-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT1-201 to CT1-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT1-201 to CT1-209
| 3 | Electrical panels general clearing | bar: CT1-201 to CT1-209
| 4 | Visual check for loose connections | bar: CT1-201 to CT1-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT1-201 to CT1-209
| 6 | Check the condition of the surge arresters. | bar: CT1-201 to CT1-209
| 7 | Visual check for possible overheating. | bar: CT1-201 to CT1-209
| 8 | Electrical control panel voltages check. | bar: CT1-201 to CT1-209
| 9 | Check the door and lock. | bar: CT1-201 to CT1-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT1-201 to CT1-209
| 11 | Check communication with SCADA | bar: CT1-201 to CT1-209
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT1-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT2_101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 05/03/2024
| Location: |  | CT2:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT2-101 | CT2-102 | CT2-103 | CT2-104 | CT2-105 | CT2-106 | CT2-107 | CT2-108 | CT2-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT2-101 to CT2-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT2-101 to CT2-109
| 3 | Electrical panels general clearing | bar: CT2-101 to CT2-109
| 4 | Visual check for loose connections | bar: CT2-101 to CT2-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT2-101 to CT2-109
| 6 | Check the condition of the surge arresters. | bar: CT2-101 to CT2-109
| 7 | Visual check for possible overheating. | bar: CT2-101 to CT2-109
| 8 | Electrical control panel voltages check. | bar: CT2-101 to CT2-109
| 9 | Check the door and lock. | bar: CT2-101 to CT2-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT2-101 to CT2-109
| 11 | Check communication with SCADA | bar: CT2-101 to CT2-109
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT2-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT2_201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 06/03/2024
| Location: |  | CT2:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT2-201 | CT2-202 | CT2-203 | CT2-204 | CT2-205 | CT2-206 | CT2-207 | CT2-208 | CT2-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT2-201 to CT2-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT2-201 to CT2-209
| 3 | Electrical panels general clearing | bar: CT2-201 to CT2-209
| 4 | Visual check for loose connections | bar: CT2-201 to CT2-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT2-201 to CT2-209
| 6 | Check the condition of the surge arresters. | bar: CT2-201 to CT2-209
| 7 | Visual check for possible overheating. | bar: CT2-201 to CT2-209
| 8 | Electrical control panel voltages check. | bar: CT2-201 to CT2-209
| 9 | Check the door and lock. | bar: CT2-201 to CT2-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT2-201 to CT2-209
| 11 | Check communication with SCADA | bar: CT2-201 to CT2-209
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT2-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT3_101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 07/03/2024
| Location: |  | CT3:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT3-101 | CT3-102 | CT3-103 | CT3-104 | CT3-105 | CT3-106 | CT3-107 | CT3-108 | CT3-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT3-101 to CT3-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT3-101 to CT3-109
| 3 | Electrical panels general clearing | bar: CT3-101 to CT3-109
| 4 | Visual check for loose connections | bar: CT3-101 to CT3-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT3-101 to CT3-109
| 6 | Check the condition of the surge arresters. | bar: CT3-101 to CT3-109
| 7 | Visual check for possible overheating. | bar: CT3-101 to CT3-109
| 8 | Electrical control panel voltages check. | bar: CT3-101 to CT3-109
| 9 | Check the door and lock. | bar: CT3-101 to CT3-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT3-101 to CT3-109
| 11 | Check communication with SCADA | bar: CT3-101 to CT3-109
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT3-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT3 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 08/03/2024
| Location: |  | CT3:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT3-201 | CT3-202 | CT3-203 | CT3-204 | CT3-205 | CT3-206 | CT3-207 | CT3-208 | CT3-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT3-201 to CT3-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT3-201 to CT3-209
| 3 | Electrical panels general clearing | bar: CT3-201 to CT3-209
| 4 | Visual check for loose connections | bar: CT3-201 to CT3-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT3-201 to CT3-209
| 6 | Check the condition of the surge arresters. | bar: CT3-201 to CT3-209
| 7 | Visual check for possible overheating. | bar: CT3-201 to CT3-209
| 8 | Electrical control panel voltages check. | bar: CT3-201 to CT3-209
| 9 | Check the door and lock. | bar: CT3-201 to CT3-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT3-201 to CT3-209
| 11 | Check communication with SCADA | bar: CT3-201 to CT3-209
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT3-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT4 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 11/03/2024
| Location: |  | CT4:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT4-101 | CT4-102 | CT4-103 | CT4-104 | CT4-105 | CT4-106 | CT4-107 | CT4-108 | CT4-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT4-101 to CT4-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT4-101 to CT4-109
| 3 | Electrical panels general clearing | bar: CT4-101 to CT4-109
| 4 | Visual check for loose connections | bar: CT4-101 to CT4-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT4-101 to CT4-109
| 6 | Check the condition of the surge arresters. | bar: CT4-101 to CT4-109
| 7 | Visual check for possible overheating. | bar: CT4-101 to CT4-109
| 8 | Electrical control panel voltages check. | bar: CT4-101 to CT4-109
| 9 | Check the door and lock. | bar: CT4-101 to CT4-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT4-101 to CT4-109
| 11 | Check communication with SCADA | bar: CT4-101 to CT4-109
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT4-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT4 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 12/03/2024
| Location: |  | CT4:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT4-201 | CT4-202 | CT4-203 | CT4-204 | CT4-205 | CT4-206 | CT4-207 | CT4-208 | CT4-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT4-201 to CT4-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT4-201 to CT4-209
| 3 | Electrical panels general clearing | bar: CT4-201 to CT4-209
| 4 | Visual check for loose connections | bar: CT4-201 to CT4-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT4-201 to CT4-209
| 6 | Check the condition of the surge arresters. | bar: CT4-201 to CT4-209
| 7 | Visual check for possible overheating. | bar: CT4-201 to CT4-209
| 8 | Electrical control panel voltages check. | bar: CT4-201 to CT4-209
| 9 | Check the door and lock. | bar: CT4-201 to CT4-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT4-201 to CT4-209
| 11 | Check communication with SCADA | bar: CT4-201 to CT4-209
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT4-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT5 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 13/03/2024
| Location: |  | CT5:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT5-101 | CT5-102 | CT5-103 | CT5-104 | CT5-105 | CT5-106 | CT5-107 | CT5-108 | CT5-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT5-101 to CT5-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT5-101 to CT5-109
| 3 | Electrical panels general clearing | bar: CT5-101 to CT5-109
| 4 | Visual check for loose connections | bar: CT5-101 to CT5-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT5-101 to CT5-109
| 6 | Check the condition of the surge arresters. | bar: CT5-101 to CT5-109
| 7 | Visual check for possible overheating. | bar: CT5-101 to CT5-109
| 8 | Electrical control panel voltages check. | bar: CT5-101 to CT5-109
| 9 | Check the door and lock. | bar: CT5-101 to CT5-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT5-101 to CT5-109
| 11 | Check communication with SCADA | bar: CT5-101 to CT5-109
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT5-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT5 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 14/03/2024
| Location: |  | CT5:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT5-201 | CT5-202 | CT5-203 | CT5-204 | CT5-205 | CT5-206 | CT5-207 | CT5-208 | CT5-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT5-201 to CT5-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT5-201 to CT5-209
| 3 | Electrical panels general clearing | bar: CT5-201 to CT5-209
| 4 | Visual check for loose connections | bar: CT5-201 to CT5-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT5-201 to CT5-209
| 6 | Check the condition of the surge arresters. | bar: CT5-201 to CT5-209
| 7 | Visual check for possible overheating. | bar: CT5-201 to CT5-209
| 8 | Electrical control panel voltages check. | bar: CT5-201 to CT5-209
| 9 | Check the door and lock. | bar: CT5-201 to CT5-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT5-201 to CT5-209
| 11 | Check communication with SCADA | bar: CT5-201 to CT5-209
Exterior cleaning of equipment and components
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT5-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT6 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 15/03/2024
| Location: |  | CT6:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT6-101 | CT6-102 | CT6-103 | CT6-104 | CT6-105 | CT6-106 | CT6-107 | CT6-108 | CT6-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT6-101 to CT6-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT6-101 to CT6-109
| 3 | Electrical panels general clearing | bar: CT6-101 to CT6-109
| 4 | Visual check for loose connections | bar: CT6-101 to CT6-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT6-101 to CT6-109
| 6 | Check the condition of the surge arresters. | bar: CT6-101 to CT6-109
| 7 | Visual check for possible overheating. | bar: CT6-101 to CT6-109
| 8 | Electrical control panel voltages check. | bar: CT6-101 to CT6-109
| 9 | Check the door and lock. | bar: CT6-101 to CT6-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT6-101 to CT6-109
| 11 | Check communication with SCADA | bar: CT6-101 to CT6-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT6-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT6 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 18/03/2024
| Location: |  | CT6:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT6-201 | CT6-202 | CT6-203 | CT6-204 | CT6-205 | CT6-206 | CT6-207 | CT6-208 | CT6-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT6-201 to CT6-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT6-201 to CT6-209
| 3 | Electrical panels general clearing | bar: CT6-201 to CT6-209
| 4 | Visual check for loose connections | bar: CT6-201 to CT6-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT6-201 to CT6-209
| 6 | Check the condition of the surge arresters. | bar: CT6-201 to CT6-209
| 7 | Visual check for possible overheating. | bar: CT6-201 to CT6-209
| 8 | Electrical control panel voltages check. | bar: CT6-201 to CT6-209
| 9 | Check the door and lock. | bar: CT6-201 to CT6-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT6-201 to CT6-209
| 11 | Check communication with SCADA | bar: CT6-201 to CT6-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT6-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT7 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 19/03/2024
| Location: |  | CT7:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT7-101 | CT7-102 | CT7-103 | CT7-104 | CT7-105 | CT7-106 | CT7-107 | CT7-108 | CT7-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT7-101 to CT7-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT7-101 to CT7-109
| 3 | Electrical panels general clearing | bar: CT7-101 to CT7-109
| 4 | Visual check for loose connections | bar: CT7-101 to CT7-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT7-101 to CT7-109
| 6 | Check the condition of the surge arresters. | bar: CT7-101 to CT7-109
| 7 | Visual check for possible overheating. | bar: CT7-101 to CT7-109
| 8 | Electrical control panel voltages check. | bar: CT7-101 to CT7-109
| 9 | Check the door and lock. | bar: CT7-101 to CT7-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT7-101 to CT7-109
| 11 | Check communication with SCADA | bar: CT7-101 to CT7-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT7-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT7 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 20/03/2024
| Location: |  | CT7:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT7-201 | CT7-202 | CT7-203 | CT7-204 | CT7-205 | CT7-206 | CT7-207 | CT7-208 | CT7-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT7-201 to CT7-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT7-201 to CT7-209
| 3 | Electrical panels general clearing | bar: CT7-201 to CT7-209
| 4 | Visual check for loose connections | bar: CT7-201 to CT7-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT7-201 to CT7-209
| 6 | Check the condition of the surge arresters. | bar: CT7-201 to CT7-209
| 7 | Visual check for possible overheating. | bar: CT7-201 to CT7-209
| 8 | Electrical control panel voltages check. | bar: CT7-201 to CT7-209
| 9 | Check the door and lock. | bar: CT7-201 to CT7-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT7-201 to CT7-209
| 11 | Check communication with SCADA | bar: CT7-201 to CT7-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT7-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT8 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 20/03/2024
| Location: |  | CT8:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT8-101 | CT8-102 | CT8-103 | CT8-104 | CT8-105 | CT8-106 | CT8-107 | CT8-108 | CT8-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT8-101 to CT8-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT8-101 to CT8-109
| 3 | Electrical panels general clearing | bar: CT8-101 to CT8-109
| 4 | Visual check for loose connections | bar: CT8-101 to CT8-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT8-101 to CT8-109
| 6 | Check the condition of the surge arresters. | bar: CT8-101 to CT8-109
| 7 | Visual check for possible overheating. | bar: CT8-101 to CT8-109
| 8 | Electrical control panel voltages check. | bar: CT8-101 to CT8-109
| 9 | Check the door and lock. | bar: CT8-101 to CT8-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT8-101 to CT8-109
| 11 | Check communication with SCADA | bar: CT8-101 to CT8-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT8-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT8 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 21/03/2024
| Location: |  | CT8:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT8-201 | CT8-202 | CT8-203 | CT8-204 | CT8-205 | CT8-206 | CT8-207 | CT8-208 | CT8-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT8-201 to CT8-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT8-201 to CT8-209
| 3 | Electrical panels general clearing | bar: CT8-201 to CT8-209
| 4 | Visual check for loose connections | bar: CT8-201 to CT8-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT8-201 to CT8-209
| 6 | Check the condition of the surge arresters. | bar: CT8-201 to CT8-209
| 7 | Visual check for possible overheating. | bar: CT8-201 to CT8-209
| 8 | Electrical control panel voltages check. | bar: CT8-201 to CT8-209
| 9 | Check the door and lock. | bar: CT8-201 to CT8-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT8-201 to CT8-209
| 11 | Check communication with SCADA | bar: CT8-201 to CT8-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT8-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT9 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 22/03/2024
| Location: |  | CT9:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT9-101 | CT9-102 | CT9-103 | CT9-104 | CT9-105 | CT9-106 | CT9-107 | CT9-108 | CT9-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT9-101 to CT9-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT9-101 to CT9-109
| 3 | Electrical panels general clearing | bar: CT9-101 to CT9-109
| 4 | Visual check for loose connections | bar: CT9-101 to CT9-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT9-101 to CT9-109
| 6 | Check the condition of the surge arresters. | bar: CT9-101 to CT9-109
| 7 | Visual check for possible overheating. | bar: CT9-101 to CT9-109
| 8 | Electrical control panel voltages check. | bar: CT9-101 to CT9-109
| 9 | Check the door and lock. | bar: CT9-101 to CT9-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT9-101 to CT9-109
| 11 | Check communication with SCADA | bar: CT9-101 to CT9-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT9-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT9 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 25/03/2024
| Location: |  | CT9:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT9-201 | CT9-202 | CT9-203 | CT9-204 | CT9-205 | CT9-206 | CT9-207 | CT9-208 | CT9-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT9-201 to CT9-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT9-201 to CT9-209
| 3 | Electrical panels general clearing | bar: CT9-201 to CT9-209
| 4 | Visual check for loose connections | bar: CT9-201 to CT9-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT9-201 to CT9-209
| 6 | Check the condition of the surge arresters. | bar: CT9-201 to CT9-209
| 7 | Visual check for possible overheating. | bar: CT9-201 to CT9-209
| 8 | Electrical control panel voltages check. | bar: CT9-201 to CT9-209
| 9 | Check the door and lock. | bar: CT9-201 to CT9-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT9-201 to CT9-209
| 11 | Check communication with SCADA | bar: CT9-201 to CT9-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT9-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT10 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 26/03/2024
| Location: |  | CT10:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT10-101 | CT10-102 | CT10-103 | CT10-104 | CT10-105 | CT10-106 | CT10-107 | CT10-108 | CT10-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT10-101 to CT10-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT10-101 to CT10-109
| 3 | Electrical panels general clearing | bar: CT10-101 to CT10-109
| 4 | Visual check for loose connections | bar: CT10-101 to CT10-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT10-101 to CT10-109
| 6 | Check the condition of the surge arresters. | bar: CT10-101 to CT10-109
| 7 | Visual check for possible overheating. | bar: CT10-101 to CT10-109
| 8 | Electrical control panel voltages check. | bar: CT10-101 to CT10-109
| 9 | Check the door and lock. | bar: CT10-101 to CT10-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT10-101 to CT10-109
| 11 | Check communication with SCADA | bar: CT10-101 to CT10-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT10-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT10 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 27/03/2024
| Location: |  | CT10:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT10-201 | CT10-202 | CT10-203 | CT10-204 | CT10-205 | CT10-206 | CT10-207 | CT10-208 | CT10-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT10-201 to CT10-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT10-201 to CT10-209
| 3 | Electrical panels general clearing | bar: CT10-201 to CT10-209
| 4 | Visual check for loose connections | bar: CT10-201 to CT10-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT10-201 to CT10-209
| 6 | Check the condition of the surge arresters. | bar: CT10-201 to CT10-209
| 7 | Visual check for possible overheating. | bar: CT10-201 to CT10-209
| 8 | Electrical control panel voltages check. | bar: CT10-201 to CT10-209
| 9 | Check the door and lock. | bar: CT10-201 to CT10-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT10-201 to CT10-209
| 11 | Check communication with SCADA | bar: CT10-201 to CT10-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT10-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT11 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 28/03/2024
| Location: |  | CT11:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT11-101 | CT11-102 | CT11-103 | CT11-104 | CT11-105 | CT11-106 | CT11-107 | CT11-108 | CT11-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT11-101 to CT11-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT11-101 to CT11-109
| 3 | Electrical panels general clearing | bar: CT11-101 to CT11-109
| 4 | Visual check for loose connections | bar: CT11-101 to CT11-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT11-101 to CT11-109
| 6 | Check the condition of the surge arresters. | bar: CT11-101 to CT11-109
| 7 | Visual check for possible overheating. | bar: CT11-101 to CT11-109
| 8 | Electrical control panel voltages check. | bar: CT11-101 to CT11-109
| 9 | Check the door and lock. | bar: CT11-101 to CT11-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT11-101 to CT11-109
| 11 | Check communication with SCADA | bar: CT11-101 to CT11-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT11-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT11 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 29/03/2024
| Location: |  | CT11:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT11-201 | CT11-202 | CT11-203 | CT11-204 | CT11-205 | CT11-206 | CT11-207 | CT11-208 | CT11-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT11-201 to CT11-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT11-201 to CT11-209
| 3 | Electrical panels general clearing | bar: CT11-201 to CT11-209
| 4 | Visual check for loose connections | bar: CT11-201 to CT11-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT11-201 to CT11-209
| 6 | Check the condition of the surge arresters. | bar: CT11-201 to CT11-209
| 7 | Visual check for possible overheating. | bar: CT11-201 to CT11-209
| 8 | Electrical control panel voltages check. | bar: CT11-201 to CT11-209
| 9 | Check the door and lock. | bar: CT11-201 to CT11-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT11-201 to CT11-209
| 11 | Check communication with SCADA | bar: CT11-201 to CT11-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT11-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT12 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 01/04/2024
| Location: |  | CT12:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT12-101 | CT12-102 | CT12-103 | CT12-104 | CT12-105 | CT12-106 | CT12-107 | CT12-108 | CT12-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT12-101 to CT12-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT12-101 to CT12-109
| 3 | Electrical panels general clearing | bar: CT12-101 to CT12-109
| 4 | Visual check for loose connections | bar: CT12-101 to CT12-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT12-101 to CT12-109
| 6 | Check the condition of the surge arresters. | bar: CT12-101 to CT12-109
| 7 | Visual check for possible overheating. | bar: CT12-101 to CT12-109
| 8 | Electrical control panel voltages check. | bar: CT12-101 to CT12-109
| 9 | Check the door and lock. | bar: CT12-101 to CT12-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT12-101 to CT12-109
| 11 | Check communication with SCADA | bar: CT12-101 to CT12-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT12-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT12 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 02/04/2024
| Location: |  | CT12:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT12-201 | CT12-202 | CT12-203 | CT12-204 | CT12-205 | CT12-206 | CT12-207 | CT12-208 | CT12-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT12-201 to CT12-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT12-201 to CT12-209
| 3 | Electrical panels general clearing | bar: CT12-201 to CT12-209
| 4 | Visual check for loose connections | bar: CT12-201 to CT12-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT12-201 to CT12-209
| 6 | Check the condition of the surge arresters. | bar: CT12-201 to CT12-209
| 7 | Visual check for possible overheating. | bar: CT12-201 to CT12-209
| 8 | Electrical control panel voltages check. | bar: CT12-201 to CT12-209
| 9 | Check the door and lock. | bar: CT12-201 to CT12-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT12-201 to CT12-209
| 11 | Check communication with SCADA | bar: CT12-201 to CT12-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT12-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT13 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 03/04/2024
| Location: |  | CT13:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT13-101 | CT13-102 | CT13-103 | CT13-104 | CT13-105 | CT13-106 | CT13-107 | CT13-108 | CT13-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT13-101 to CT13-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT13-101 to CT13-109
| 3 | Electrical panels general clearing | bar: CT13-101 to CT13-109
| 4 | Visual check for loose connections | bar: CT13-101 to CT13-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT13-101 to CT13-109
| 6 | Check the condition of the surge arresters. | bar: CT13-101 to CT13-109
| 7 | Visual check for possible overheating. | bar: CT13-101 to CT13-109
| 8 | Electrical control panel voltages check. | bar: CT13-101 to CT13-109
| 9 | Check the door and lock. | bar: CT13-101 to CT13-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT13-101 to CT13-109
| 11 | Check communication with SCADA | bar: CT13-101 to CT13-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT13-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT13 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 04/04/2024
| Location: |  | CT13:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT13-201 | CT13-202 | CT13-203 | CT13-204 | CT13-205 | CT13-206 | CT13-207 | CT13-208 | CT13-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT13-201 to CT13-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT13-201 to CT13-209
| 3 | Electrical panels general clearing | bar: CT13-201 to CT13-209
| 4 | Visual check for loose connections | bar: CT13-201 to CT13-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT13-201 to CT13-209
| 6 | Check the condition of the surge arresters. | bar: CT13-201 to CT13-209
| 7 | Visual check for possible overheating. | bar: CT13-201 to CT13-209
| 8 | Electrical control panel voltages check. | bar: CT13-201 to CT13-209
| 9 | Check the door and lock. | bar: CT13-201 to CT13-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT13-201 to CT13-209
| 11 | Check communication with SCADA | bar: CT13-201 to CT13-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT13-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT14 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 05/04/2024
| Location: |  | CT14:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT14-101 | CT14-102 | CT14-103 | CT14-104 | CT14-105 | CT14-106 | CT14-107 | CT14-108 | CT14-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT14-101 to CT14-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT14-101 to CT14-109
| 3 | Electrical panels general clearing | bar: CT14-101 to CT14-109
| 4 | Visual check for loose connections | bar: CT14-101 to CT14-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT14-101 to CT14-109
| 6 | Check the condition of the surge arresters. | bar: CT14-101 to CT14-109
| 7 | Visual check for possible overheating. | bar: CT14-101 to CT14-109
| 8 | Electrical control panel voltages check. | bar: CT14-101 to CT14-109
| 9 | Check the door and lock. | bar: CT14-101 to CT14-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT14-101 to CT14-109
| 11 | Check communication with SCADA | bar: CT14-101 to CT14-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT14-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT14 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 08/04/2024
| Location: |  | CT14:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT14-201 | CT14-202 | CT14-203 | CT14-204 | CT14-205 | CT14-206 | CT14-207 | CT14-208 | CT14-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT14-201 to CT14-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT14-201 to CT14-209
| 3 | Electrical panels general clearing | bar: CT14-201 to CT14-209
| 4 | Visual check for loose connections | bar: CT14-201 to CT14-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT14-201 to CT14-209
| 6 | Check the condition of the surge arresters. | bar: CT14-201 to CT14-209
| 7 | Visual check for possible overheating. | bar: CT14-201 to CT14-209
| 8 | Electrical control panel voltages check. | bar: CT14-201 to CT14-209
| 9 | Check the door and lock. | bar: CT14-201 to CT14-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT14-201 to CT14-209
| 11 | Check communication with SCADA | bar: CT14-201 to CT14-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT14-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT15 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 09/04/2024
| Location: |  | CT15:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT15-101 | CT15-102 | CT15-103 | CT15-104 | CT15-105 | CT15-106 | CT15-107 | CT15-108 | CT15-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT15-101 to CT15-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT15-101 to CT15-109
| 3 | Electrical panels general clearing | bar: CT15-101 to CT15-109
| 4 | Visual check for loose connections | bar: CT15-101 to CT15-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT15-101 to CT15-109
| 6 | Check the condition of the surge arresters. | bar: CT15-101 to CT15-109
| 7 | Visual check for possible overheating. | bar: CT15-101 to CT15-109
| 8 | Electrical control panel voltages check. | bar: CT15-101 to CT15-109
| 9 | Check the door and lock. | bar: CT15-101 to CT15-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT15-101 to CT15-109
| 11 | Check communication with SCADA | bar: CT15-101 to CT15-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT15-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT15 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 10/04/2024
| Location: |  | CT15:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT15-201 | CT15-202 | CT15-203 | CT15-204 | CT15-205 | CT15-206 | CT15-207 | CT15-208 | CT15-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT15-201 to CT15-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT15-201 to CT15-209
| 3 | Electrical panels general clearing | bar: CT15-201 to CT15-209
| 4 | Visual check for loose connections | bar: CT15-201 to CT15-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT15-201 to CT15-209
| 6 | Check the condition of the surge arresters. | bar: CT15-201 to CT15-209
| 7 | Visual check for possible overheating. | bar: CT15-201 to CT15-209
| 8 | Electrical control panel voltages check. | bar: CT15-201 to CT15-209
| 9 | Check the door and lock. | bar: CT15-201 to CT15-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT15-201 to CT15-209
| 11 | Check communication with SCADA | bar: CT15-201 to CT15-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT15-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT16 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 11/04/2024
| Location: |  | CT16:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT16-101 | CT16-102 | CT16-103 | CT16-104 | CT16-105 | CT16-106 | CT16-107 | CT16-108 | CT16-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT16-101 to CT16-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT16-101 to CT16-109
| 3 | Electrical panels general clearing | bar: CT16-101 to CT16-109
| 4 | Visual check for loose connections | bar: CT16-101 to CT16-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT16-101 to CT16-109
| 6 | Check the condition of the surge arresters. | bar: CT16-101 to CT16-109
| 7 | Visual check for possible overheating. | bar: CT16-101 to CT16-109
| 8 | Electrical control panel voltages check. | bar: CT16-101 to CT16-109
| 9 | Check the door and lock. | bar: CT16-101 to CT16-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT16-101 to CT16-109
| 11 | Check communication with SCADA | bar: CT16-101 to CT16-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT16-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT16 202_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 12/04/2024
| Location: |  | CT16:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT16-201 | CT16-202 | CT16-203 | CT16-204 | CT16-205 | CT16-206 | CT16-207 | CT16-208 | CT16-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT16-201 to CT16-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT16-201 to CT16-209
| 3 | Electrical panels general clearing | bar: CT16-201 to CT16-209
| 4 | Visual check for loose connections | bar: CT16-201 to CT16-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT16-201 to CT16-209
| 6 | Check the condition of the surge arresters. | bar: CT16-201 to CT16-209
| 7 | Visual check for possible overheating. | bar: CT16-201 to CT16-209
| 8 | Electrical control panel voltages check. | bar: CT16-201 to CT16-209
| 9 | Check the door and lock. | bar: CT16-201 to CT16-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT16-201 to CT16-209
| 11 | Check communication with SCADA | bar: CT16-201 to CT16-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT16-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT17 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 15/04/2024
| Location: |  | CT17:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT17-101 | CT17-102 | CT17-103 | CT17-104 | CT17-105 | CT17-106 | CT17-107 | CT17-108 | CT17-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT17-101 to CT17-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT17-101 to CT17-109
| 3 | Electrical panels general clearing | bar: CT17-101 to CT17-109
| 4 | Visual check for loose connections | bar: CT17-101 to CT17-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT17-101 to CT17-109
| 6 | Check the condition of the surge arresters. | bar: CT17-101 to CT17-109
| 7 | Visual check for possible overheating. | bar: CT17-101 to CT17-109
| 8 | Electrical control panel voltages check. | bar: CT17-101 to CT17-109
| 9 | Check the door and lock. | bar: CT17-101 to CT17-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT17-101 to CT17-109
| 11 | Check communication with SCADA | bar: CT17-101 to CT17-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT17-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT17 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 16/04/2024
| Location: |  | CT17:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT17-201 | CT17-202 | CT17-203 | CT17-204 | CT17-205 | CT17-206 | CT17-207 | CT17-208 | CT17-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT17-201 to CT17-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT17-201 to CT17-209
| 3 | Electrical panels general clearing | bar: CT17-201 to CT17-209
| 4 | Visual check for loose connections | bar: CT17-201 to CT17-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT17-201 to CT17-209
| 6 | Check the condition of the surge arresters. | bar: CT17-201 to CT17-209
| 7 | Visual check for possible overheating. | bar: CT17-201 to CT17-209
| 8 | Electrical control panel voltages check. | bar: CT17-201 to CT17-209
| 9 | Check the door and lock. | bar: CT17-201 to CT17-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT17-201 to CT17-209
| 11 | Check communication with SCADA | bar: CT17-201 to CT17-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT17-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT18 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 17/04/2024
| Location: |  | CT18:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT18-101 | CT18-102 | CT18-103 | CT18-104 | CT18-105 | CT18-106 | CT18-107 | CT18-108 | CT18-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT18-101 to CT18-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT18-101 to CT18-109
| 3 | Electrical panels general clearing | bar: CT18-101 to CT18-109
| 4 | Visual check for loose connections | bar: CT18-101 to CT18-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT18-101 to CT18-109
| 6 | Check the condition of the surge arresters. | bar: CT18-101 to CT18-109
| 7 | Visual check for possible overheating. | bar: CT18-101 to CT18-109
| 8 | Electrical control panel voltages check. | bar: CT18-101 to CT18-109
| 9 | Check the door and lock. | bar: CT18-101 to CT18-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT18-101 to CT18-109
| 11 | Check communication with SCADA | bar: CT18-101 to CT18-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT18-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT18 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 18/04/2024
| Location: |  | CT18:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT18-201 | CT18-202 | CT18-203 | CT18-204 | CT18-205 | CT18-206 | CT18-207 | CT18-208 | CT18-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT18-201 to CT18-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT18-201 to CT18-209
| 3 | Electrical panels general clearing | bar: CT18-201 to CT18-209
| 4 | Visual check for loose connections | bar: CT18-201 to CT18-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT18-201 to CT18-209
| 6 | Check the condition of the surge arresters. | bar: CT18-201 to CT18-209
| 7 | Visual check for possible overheating. | bar: CT18-201 to CT18-209
| 8 | Electrical control panel voltages check. | bar: CT18-201 to CT18-209
| 9 | Check the door and lock. | bar: CT18-201 to CT18-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT18-201 to CT18-209
| 11 | Check communication with SCADA | bar: CT18-201 to CT18-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT18-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT19 101_110
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 19/04/2024
| Location: |  | CT19:101-110 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT19-101 | CT19-102 | CT19-103 | CT19-104 | CT19-105 | CT19-106 | CT19-107 | CT19-108 | CT19-109 | CT19-110
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT19-101 to CT19-110
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT19-101 to CT19-110
| 3 | Electrical panels general clearing | bar: CT19-101 to CT19-110
| 4 | Visual check for loose connections | bar: CT19-101 to CT19-110
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT19-101 to CT19-110
| 6 | Check the condition of the surge arresters. | bar: CT19-101 to CT19-110
| 7 | Visual check for possible overheating. | bar: CT19-101 to CT19-110
| 8 | Electrical control panel voltages check. | bar: CT19-101 to CT19-110
| 9 | Check the door and lock. | bar: CT19-101 to CT19-110
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT19-101 to CT19-110
| 11 | Check communication with SCADA | bar: CT19-101 to CT19-110
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT19-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [17 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT19 201_210
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 22/04/2024
| Location: |  | CT19:201-210 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT19-201 | CT19-202 | CT19-203 | CT19-204 | CT19-205 | CT19-206 | CT19-207 | CT19-208 | CT19-209 | CT19-210
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT19-201 to CT19-210
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT19-201 to CT19-210
| 3 | Electrical panels general clearing | bar: CT19-201 to CT19-210
| 4 | Visual check for loose connections | bar: CT19-201 to CT19-210
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT19-201 to CT19-210
| 6 | Check the condition of the surge arresters. | bar: CT19-201 to CT19-210
| 7 | Visual check for possible overheating. | bar: CT19-201 to CT19-210
| 8 | Electrical control panel voltages check. | bar: CT19-201 to CT19-210
| 9 | Check the door and lock. | bar: CT19-201 to CT19-210
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT19-201 to CT19-210
| 11 | Check communication with SCADA | bar: CT19-201 to CT19-210
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT19-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [17 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT20 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 23/04/2024
| Location: |  | CT20:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT20-101 | CT20-102 | CT20-103 | CT20-104 | CT20-105 | CT20-106 | CT20-107 | CT20-108 | CT20-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT20-101 to CT20-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT20-101 to CT20-109
| 3 | Electrical panels general clearing | bar: CT20-101 to CT20-109
| 4 | Visual check for loose connections | bar: CT20-101 to CT20-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT20-101 to CT20-109
| 6 | Check the condition of the surge arresters. | bar: CT20-101 to CT20-109
| 7 | Visual check for possible overheating. | bar: CT20-101 to CT20-109
| 8 | Electrical control panel voltages check. | bar: CT20-101 to CT20-109
| 9 | Check the door and lock. | bar: CT20-101 to CT20-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT20-101 to CT20-109
| 11 | Check communication with SCADA | bar: CT20-101 to CT20-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT20-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT20 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 24/04/2024
| Location: |  | CT20:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT20-201 | CT20-202 | CT20-203 | CT20-204 | CT20-205 | CT20-206 | CT20-207 | CT20-208 | CT20-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT20-201 to CT20-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT20-201 to CT20-209
| 3 | Electrical panels general clearing | bar: CT20-201 to CT20-209
| 4 | Visual check for loose connections | bar: CT20-201 to CT20-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT20-201 to CT20-209
| 6 | Check the condition of the surge arresters. | bar: CT20-201 to CT20-209
| 7 | Visual check for possible overheating. | bar: CT20-201 to CT20-209
| 8 | Electrical control panel voltages check. | bar: CT20-201 to CT20-209
| 9 | Check the door and lock. | bar: CT20-201 to CT20-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT20-201 to CT20-209
| 11 | Check communication with SCADA | bar: CT20-201 to CT20-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT20-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT21 101_110
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 25/04/2024
| Location: |  | CT21:101-110 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT21-101 | CT21-102 | CT21-103 | CT21-104 | CT21-105 | CT21-106 | CT21-107 | CT21-108 | CT21-109 | CT21-110
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT21-101 to CT21-110
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT21-101 to CT21-110
| 3 | Electrical panels general clearing | bar: CT21-101 to CT21-110
| 4 | Visual check for loose connections | bar: CT21-101 to CT21-110
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT21-101 to CT21-110
| 6 | Check the condition of the surge arresters. | bar: CT21-101 to CT21-110
| 7 | Visual check for possible overheating. | bar: CT21-101 to CT21-110
| 8 | Electrical control panel voltages check. | bar: CT21-101 to CT21-110
| 9 | Check the door and lock. | bar: CT21-101 to CT21-110
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT21-101 to CT21-110
| 11 | Check communication with SCADA | bar: CT21-101 to CT21-110
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT21-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [17 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT21 201_210
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 26/04/2024
| Location: |  | CT21:201-210 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT21-201 | CT21-202 | CT21-203 | CT21-204 | CT21-205 | CT21-206 | CT21-207 | CT21-208 | CT21-209 | CT21-210
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT21-201 to CT21-210
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT21-201 to CT21-210
| 3 | Electrical panels general clearing | bar: CT21-201 to CT21-210
| 4 | Visual check for loose connections | bar: CT21-201 to CT21-210
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT21-201 to CT21-210
| 6 | Check the condition of the surge arresters. | bar: CT21-201 to CT21-210
| 7 | Visual check for possible overheating. | bar: CT21-201 to CT21-210
| 8 | Electrical control panel voltages check. | bar: CT21-201 to CT21-210
| 9 | Check the door and lock. | bar: CT21-201 to CT21-210
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT21-201 to CT21-210
| 11 | Check communication with SCADA | bar: CT21-201 to CT21-210
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT21-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [17 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT22 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 29/04/2024
| Location: |  | CT22:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT22-101 | CT22-102 | CT22-103 | CT22-104 | CT22-105 | CT22-106 | CT22-107 | CT22-108 | CT22-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT22-101 to CT22-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT22-101 to CT22-109
| 3 | Electrical panels general clearing | bar: CT22-101 to CT22-109
| 4 | Visual check for loose connections | bar: CT22-101 to CT22-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT22-101 to CT22-109
| 6 | Check the condition of the surge arresters. | bar: CT22-101 to CT22-109
| 7 | Visual check for possible overheating. | bar: CT22-101 to CT22-109
| 8 | Electrical control panel voltages check. | bar: CT22-101 to CT22-109
| 9 | Check the door and lock. | bar: CT22-101 to CT22-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT22-101 to CT22-109
| 11 | Check communication with SCADA | bar: CT22-101 to CT22-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT22-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT22 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 1/05/2024
| Location: |  | CT22:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT22-201 | CT22-202 | CT22-203 | CT22-204 | CT22-205 | CT22-206 | CT22-207 | CT22-208 | CT22-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT22-201 to CT22-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT22-201 to CT22-209
| 3 | Electrical panels general clearing | bar: CT22-201 to CT22-209
| 4 | Visual check for loose connections | bar: CT22-201 to CT22-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT22-201 to CT22-209
| 6 | Check the condition of the surge arresters. | bar: CT22-201 to CT22-209
| 7 | Visual check for possible overheating. | bar: CT22-201 to CT22-209
| 8 | Electrical control panel voltages check. | bar: CT22-201 to CT22-209
| 9 | Check the door and lock. | bar: CT22-201 to CT22-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT22-201 to CT22-209
| 11 | Check communication with SCADA | bar: CT22-201 to CT22-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT22-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT23 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 02/05/2024
| Location: |  | CT23:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT23-101 | CT23-102 | CT23-103 | CT23-104 | CT23-105 | CT23-106 | CT23-107 | CT23-108 | CT23-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT23-101 to CT23-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT23-101 to CT23-109
| 3 | Electrical panels general clearing | bar: CT23-101 to CT23-109
| 4 | Visual check for loose connections | bar: CT23-101 to CT23-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT23-101 to CT23-109
| 6 | Check the condition of the surge arresters. | bar: CT23-101 to CT23-109
| 7 | Visual check for possible overheating. | bar: CT23-101 to CT23-109
| 8 | Electrical control panel voltages check. | bar: CT23-101 to CT23-109
| 9 | Check the door and lock. | bar: CT23-101 to CT23-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT23-101 to CT23-109
| 11 | Check communication with SCADA | bar: CT23-101 to CT23-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT23-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT23 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 3/05/2024
| Location: |  | CT23:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT23-201 | CT23-202 | CT23-203 | CT23-204 | CT23-205 | CT23-206 | CT23-207 | CT23-208 | CT23-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT23-201 to CT23-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT23-201 to CT23-209
| 3 | Electrical panels general clearing | bar: CT23-201 to CT23-209
| 4 | Visual check for loose connections | bar: CT23-201 to CT23-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT23-201 to CT23-209
| 6 | Check the condition of the surge arresters. | bar: CT23-201 to CT23-209
| 7 | Visual check for possible overheating. | bar: CT23-201 to CT23-209
| 8 | Electrical control panel voltages check. | bar: CT23-201 to CT23-209
| 9 | Check the door and lock. | bar: CT23-201 to CT23-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT23-201 to CT23-209
| 11 | Check communication with SCADA | bar: CT23-201 to CT23-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT23-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT24 101_109
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 06/05/2024
| Location: |  | CT24:101-109 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT24-101 | CT24-102 | CT24-103 | CT24-104 | CT24-105 | CT24-106 | CT24-107 | CT24-108 | CT24-109
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT24-101 to CT24-109
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT24-101 to CT24-109
| 3 | Electrical panels general clearing | bar: CT24-101 to CT24-109
| 4 | Visual check for loose connections | bar: CT24-101 to CT24-109
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT24-101 to CT24-109
| 6 | Check the condition of the surge arresters. | bar: CT24-101 to CT24-109
| 7 | Visual check for possible overheating. | bar: CT24-101 to CT24-109
| 8 | Electrical control panel voltages check. | bar: CT24-101 to CT24-109
| 9 | Check the door and lock. | bar: CT24-101 to CT24-109
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT24-101 to CT24-109
| 11 | Check communication with SCADA | bar: CT24-101 to CT24-109
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT24-105: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1

## CT24 201_209
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM- |  |  |  | Biannual Inspection of String Combiner box
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 24-01-2023
| Plant: | Witkop Solar Plant | Crew Members: |  | Rabelani, Lebogang & Prince
| Date: | 7/05/2024
| Location: |  | CT24:201-209 | [7 empty] | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
[7 empty] | CT24-201 | CT24-202 | CT24-203 | CT24-204 | CT24-205 | CT24-206 | CT24-207 | CT24-208 | CT24-209
| # | Description |  |  |  |  | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Pass/Fail | Observations
Inspection of String combiner box
| 1 | Check for proper sealing absence of humidity inside the box | bar: CT24-201 to CT24-209
| 2 | Visual inspection of the enclosure associated components such as cable protectors, tightening screws, connectors, anchors | bar: CT24-201 to CT24-209
| 3 | Electrical panels general clearing | bar: CT24-201 to CT24-209
| 4 | Visual check for loose connections | bar: CT24-201 to CT24-209
| 5 | Location of switches and circuit breakers with deficiencies. | bar: CT24-201 to CT24-209
| 6 | Check the condition of the surge arresters. | bar: CT24-201 to CT24-209
| 7 | Visual check for possible overheating. | bar: CT24-201 to CT24-209
| 8 | Electrical control panel voltages check. | bar: CT24-201 to CT24-209
| 9 | Check the door and lock. | bar: CT24-201 to CT24-209
| 10 | Thermo graphical analysis of the electrical control panels | bar: CT24-201 to CT24-209
| 11 | Check communication with SCADA | bar: CT24-201 to CT24-209
OBSERVATIONS
|  | Rabelani |  |  |  |  | CT24-205: Moloto
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [16 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1