## ARTIFICIAL VENT
Preventive Maintenance Check List
| Procedure / rev: |  |  | Title:
PM-009 |  |  |  | Weekly Inspection for artificial ventilation
| Made by: |  |  | Approved by: |  | Date of Last Revision:
Prince Matlala |  |  |  | Floridas |  | 04-07-2023
| Plant: | Witkop Solar Plant | Crew Members:
| Date: |  | Start hour: |  | Finished hour:
| Artificial Ventilation |  |  | Location: SUBST01 |  |  | Inspection is complete: YES NO
Note: Check the values before and after of the maintenance.
| # | Description |  |  |  |  | Pass | Fail | Observations
| 1 | CT Building Inspection - Weekly
| 1.1 | General state supervision.
| 1.2 | Absence of unwanted noise checking.
| 1.3 | Check sealing and tightness
| 1.4 | Check pressure level
| 2 | CT Building Inspection - Monthly
| 2.1 | Exterior cleaning of equipment and components
| 2.2 | Check for overloading - drive data
| 2.3 | Thermostat control checking and adjusting.
| 2.4 | Check the room air filters and replace if is necessary.
Exterior cleaning of equipment and components
OBSERVATIONS
| Inspecton by (Name & Sign) |  |  |  |  | Approve (Name & Sign)
SIE Proprietary Information | [9 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1