## Sheet1
Preventive Maintenance Check List
| Procedure / rev: |  |  |  | Title:
PM-14 |  |  |  |  | Inspection for CT Building Energy Meter
| Made by: |  |  |  | Approved by: |  |  | Date of Last Revision:
Prince |  |  |  |  | Mo
| Plant: | Witkop Solar Plant |  | Maintenance team: |  | Tumelo, Lerato and Mose
| Date: | 1/8/2026 |  | Start hour: | 09:47 AM |  | Finished hour: | 09:48 AM
| Location: CT Building | [10 empty] | Inspection is complete: YES NO
| Note: Check the values before and after of the maintenance. | [11 empty] | YES
| # | Description | [6 empty] | Pass | Fail | Observations
| 1 | CT Building Energy meter Inspection
| 1.1 | Check the condition of the connection | [6 empty] | P
| 1.2 | Check if is reading/recording | [6 empty] | P
| 1.3 | Check for errors on the screen | [6 empty] | P
| 1.4 | Check communication with SCADA | [6 empty] | P
| 1.5 | Check if closed and covered | [6 empty] | P
| 1.6 | Check the grounding | [6 empty] | P
Exterior cleaning of equipment and components
OBSERVATIONS
Everything is well
|  |  | Prince | [6 empty] | Mo
| Inspected by (Name & Sign) | [6 empty] | Approved (Name & Sign)
SIE Proprietary Information | [13 empty] | Electronically Controlled Information. Last review on Sharepoint.
A hard copy is uncontrolled and may be out of date unless it bears a "Controlled Copy" stamp.
Page 1 of 1